## Slide 1: Simple Load Pull Report
None

## Slide 2: Test Configuration
Frequencies: (GHz)
  8.9, 9.4, 9.9, 10.4, 10.9, 11.4, 11.9
Input Powers: (dBm)
  14, 16, 18, 22
Load Impedances:
  Gamma Magnitude:
    0.1, 0.2, 0.3, 0.4, 0.5
  Gamma Phase
    -175, -165, -155, -145, -135, -125, -115, -105, -95, -85, -75, -65, -55, -45, -35, -25, -15, -5, 5, 15, 25, 35, 45, 55, 65, 75, 85, 95, 105, 115, 125, 135, 145, 155, 165, 175
Comments
  None
Data and Time: 2025-08-11_10_30

## Slide 3: Sampler Performance Frequency 10.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 47.832
  Sampler 2: 63.344
Sampler Offset (rather than -1)
  -3.6033
Goodness Of fit
  0.11418

## Slide 4: Sampler Performance x^3 Frequency 10.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 6.291566e+01
  Sampler 2: 15.404
Sampler Av3
  Sampler 1: -16.424
  Sampler 2: 23.707
Sampler Offset (rather than -1)
  -2.8469
Goodness Of fit
  0.08084

## Slide 5: Sampler Performance Frequency 10.40 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 37.231
  Sampler 2: 49.798
Sampler Offset (rather than -1)
  -3.1788
Goodness Of fit
  0.12167

## Slide 6: Sampler Performance x^3 Frequency 10.40 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 2.741796e+01
  Sampler 2: 31.919
Sampler Av3
  Sampler 1: 11.207
  Sampler 2: 14.387
Sampler Offset (rather than -1)
  -2.3828
Goodness Of fit
  0.074013

## Slide 7: Sampler Performance Frequency 10.40 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 23.584
  Sampler 2: 32.152
Sampler Offset (rather than -1)
  -2.3929
Goodness Of fit
  0.27474

## Slide 8: Sampler Performance x^3 Frequency 10.40 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 1.499945e+01
  Sampler 2: 15.598
Sampler Av3
  Sampler 1: 9.541
  Sampler 2: 12.440
Sampler Offset (rather than -1)
  -1.5393
Goodness Of fit
  0.14726

## Slide 9: Sampler Performance Frequency 10.40 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 8.376
  Sampler 2: 11.736
Sampler Offset (rather than -1)
  -1.268
Goodness Of fit
  0.54898

## Slide 10: Sampler Performance x^3 Frequency 10.40 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 2.545527e+00
  Sampler 2: 3.490
Sampler Av3
  Sampler 1: 6.677
  Sampler 2: 7.355
Sampler Offset (rather than -1)
  -0.56354
Goodness Of fit
  0.21639

## Slide 11: Sampler Performance Frequency 10.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 27.096
  Sampler 2: 44.964
Sampler Offset (rather than -1)
  -2.2623
Goodness Of fit
  0.66603

## Slide 12: Sampler Performance x^3 Frequency 10.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 2.488224e+00
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 17.151
  Sampler 2: 22.550
Sampler Offset (rather than -1)
  -0.58173
Goodness Of fit
  0.52852

## Slide 13: Sampler Performance Frequency 10.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 22.042
  Sampler 2: 36.319
Sampler Offset (rather than -1)
  -2.0938
Goodness Of fit
  0.70655

## Slide 14: Sampler Performance x^3 Frequency 10.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 8.207826e+00
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 12.078
  Sampler 2: 18.993
Sampler Offset (rather than -1)
  -0.68833
Goodness Of fit
  0.52483

## Slide 15: Sampler Performance Frequency 10.90 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 17.811
  Sampler 2: 29.228
Sampler Offset (rather than -1)
  -1.9843
Goodness Of fit
  0.7328

## Slide 16: Sampler Performance x^3 Frequency 10.90 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 9.527406e+00
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 8.350
  Sampler 2: 15.728
Sampler Offset (rather than -1)
  -0.73778
Goodness Of fit
  0.50741

## Slide 17: Sampler Performance Frequency 10.90 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 10.403
  Sampler 2: 18.131
Sampler Offset (rather than -1)
  -1.8591
Goodness Of fit
  0.50108

## Slide 18: Sampler Performance x^3 Frequency 10.90 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 7.216630e+00
  Sampler 2: 3.275
Sampler Av3
  Sampler 1: 4.147
  Sampler 2: 9.359
Sampler Offset (rather than -1)
  -0.93994
Goodness Of fit
  0.2251

## Slide 19: Sampler Performance Frequency 11.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 24.076
  Sampler 2: 28.970
Sampler Offset (rather than -1)
  -1.6457
Goodness Of fit
  0.8638

## Slide 20: Sampler Performance x^3 Frequency 11.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 4.870783e-10
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 17.645
  Sampler 2: 19.806
Sampler Offset (rather than -1)
  -0.3909
Goodness Of fit
  0.66158

## Slide 21: Sampler Performance Frequency 11.40 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 15.159
  Sampler 2: 18.835
Sampler Offset (rather than -1)
  -1.232
Goodness Of fit
  0.91287

## Slide 22: Sampler Performance x^3 Frequency 11.40 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 1.932831e-07
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 13.123
  Sampler 2: 14.966
Sampler Offset (rather than -1)
  -0.26166
Goodness Of fit
  0.64362

## Slide 23: Sampler Performance Frequency 11.40 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 10.366
  Sampler 2: 13.456
Sampler Offset (rather than -1)
  -1.0031
Goodness Of fit
  1.0392

## Slide 24: Sampler Performance x^3 Frequency 11.40 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 6.751857e-08
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 10.230
  Sampler 2: 11.902
Sampler Offset (rather than -1)
  -0.20167
Goodness Of fit
  0.69792

## Slide 25: Sampler Performance Frequency 11.40 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 4.981
  Sampler 2: 7.062
Sampler Offset (rather than -1)
  -0.78062
Goodness Of fit
  1.0257

## Slide 26: Sampler Performance x^3 Frequency 11.40 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 1.832300e-01
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 5.589
  Sampler 2: 6.895
Sampler Offset (rather than -1)
  -0.14193
Goodness Of fit
  0.65373

## Slide 27: Sampler Performance Frequency 11.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 47.742
  Sampler 2: 40.803
Sampler Offset (rather than -1)
  -2.6971
Goodness Of fit
  0.28252

## Slide 28: Sampler Performance x^3 Frequency 11.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 1.118056e-08
  Sampler 2: 28.044
Sampler Av3
  Sampler 1: 24.024
  Sampler 2: 13.953
Sampler Offset (rather than -1)
  -1.3228
Goodness Of fit
  0.21816

## Slide 29: Sampler Performance Frequency 11.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 24.709
  Sampler 2: 22.807
Sampler Offset (rather than -1)
  -1.7655
Goodness Of fit
  0.42224

## Slide 30: Sampler Performance x^3 Frequency 11.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 1.898963e-07
  Sampler 2: 13.637
Sampler Av3
  Sampler 1: 16.458
  Sampler 2: 10.320
Sampler Offset (rather than -1)
  -0.79269
Goodness Of fit
  0.29588

## Slide 31: Sampler Performance Frequency 11.90 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 16.101
  Sampler 2: 15.770
Sampler Offset (rather than -1)
  -1.3879
Goodness Of fit
  0.55399

## Slide 32: Sampler Performance x^3 Frequency 11.90 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 2.395406e-05
  Sampler 2: 7.710
Sampler Av3
  Sampler 1: 12.635
  Sampler 2: 8.866
Sampler Offset (rather than -1)
  -0.56166
Goodness Of fit
  0.36231

## Slide 33: Sampler Performance Frequency 11.90 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 6.107
  Sampler 2: 6.752
Sampler Offset (rather than -1)
  -0.88573
Goodness Of fit
  0.72952

## Slide 34: Sampler Performance x^3 Frequency 11.90 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 9.716592e-08
  Sampler 2: 2.448
Sampler Av3
  Sampler 1: 6.526
  Sampler 2: 5.147
Sampler Offset (rather than -1)
  -0.30429
Goodness Of fit
  0.45021

## Slide 35: Sampler Performance Frequency 8.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 8.850
  Sampler 2: 21.179
Sampler Offset (rather than -1)
  -0.82406
Goodness Of fit
  1.5219

## Slide 36: Sampler Performance x^3 Frequency 8.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 2.705919e-14
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 14.538
  Sampler 2: 20.434
Sampler Offset (rather than -1)
  -0.25167
Goodness Of fit
  1.3321

## Slide 37: Sampler Performance Frequency 8.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 5.533
  Sampler 2: 13.119
Sampler Offset (rather than -1)
  -0.5453
Goodness Of fit
  1.6008

## Slide 38: Sampler Performance x^3 Frequency 8.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 3.138406e-14
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 11.917
  Sampler 2: 16.612
Sampler Offset (rather than -1)
  -0.18061
Goodness Of fit
  1.3452

## Slide 39: Sampler Performance Frequency 8.90 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 4.183
  Sampler 2: 9.289
Sampler Offset (rather than -1)
  -0.45425
Goodness Of fit
  1.5999

## Slide 40: Sampler Performance x^3 Frequency 8.90 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 2.241396e-14
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 9.696
  Sampler 2: 13.254
Sampler Offset (rather than -1)
  -0.15264
Goodness Of fit
  1.2625

## Slide 41: Sampler Performance Frequency 8.90 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 2.455
  Sampler 2: 4.930
Sampler Offset (rather than -1)
  -0.39063
Goodness Of fit
  1.6233

## Slide 42: Sampler Performance x^3 Frequency 8.90 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 2.224983e-14
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 5.969
  Sampler 2: 7.850
Sampler Offset (rather than -1)
  -0.14483
Goodness Of fit
  1.1104

## Slide 43: Sampler Performance Frequency 9.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 18.715
  Sampler 2: 29.492
Sampler Offset (rather than -1)
  -1.4998
Goodness Of fit
  0.86689

## Slide 44: Sampler Performance x^3 Frequency 9.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 4.594846e-12
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 16.613
  Sampler 2: 20.703
Sampler Offset (rather than -1)
  -0.41011
Goodness Of fit
  0.60222

## Slide 45: Sampler Performance Frequency 9.40 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 14.538
  Sampler 2: 22.276
Sampler Offset (rather than -1)
  -1.2364
Goodness Of fit
  0.92145

## Slide 46: Sampler Performance x^3 Frequency 9.40 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 2.281369e-14
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 14.369
  Sampler 2: 17.715
Sampler Offset (rather than -1)
  -0.3297
Goodness Of fit
  0.60692

## Slide 47: Sampler Performance Frequency 9.40 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 10.156
  Sampler 2: 14.670
Sampler Offset (rather than -1)
  -0.98318
Goodness Of fit
  0.95564

## Slide 48: Sampler Performance x^3 Frequency 9.40 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 2.224824e-14
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 11.167
  Sampler 2: 13.450
Sampler Offset (rather than -1)
  -0.24614
Goodness Of fit
  0.57356

## Slide 49: Sampler Performance Frequency 9.40 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 4.811
  Sampler 2: 6.047
Sampler Offset (rather than -1)
  -0.66968
Goodness Of fit
  1.0623

## Slide 50: Sampler Performance x^3 Frequency 9.40 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 3.185432e-14
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 6.320
  Sampler 2: 7.087
Sampler Offset (rather than -1)
  -0.15389
Goodness Of fit
  0.56995

## Slide 51: Sampler Performance Frequency 9.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 31.347
  Sampler 2: 53.125
Sampler Offset (rather than -1)
  -2.6379
Goodness Of fit
  0.41672

## Slide 52: Sampler Performance x^3 Frequency 9.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 8.901305e+00
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 16.860
  Sampler 2: 24.313
Sampler Offset (rather than -1)
  -0.85998
Goodness Of fit
  0.3134

## Slide 53: Sampler Performance Frequency 9.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 21.560
  Sampler 2: 35.206
Sampler Offset (rather than -1)
  -2.0084
Goodness Of fit
  0.67231

## Slide 54: Sampler Performance x^3 Frequency 9.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 1.458845e+00
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 14.870
  Sampler 2: 19.016
Sampler Offset (rather than -1)
  -0.50194
Goodness Of fit
  0.45147

## Slide 55: Sampler Performance Frequency 9.90 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 13.323
  Sampler 2: 21.238
Sampler Offset (rather than -1)
  -1.4242
Goodness Of fit
  0.79627

## Slide 56: Sampler Performance x^3 Frequency 9.90 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 9.335474e-07
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 11.565
  Sampler 2: 14.154
Sampler Offset (rather than -1)
  -0.30775
Goodness Of fit
  0.50579

## Slide 57: Sampler Performance Frequency 9.90 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 4.799
  Sampler 2: 7.473
Sampler Offset (rather than -1)
  -0.73726
Goodness Of fit
  1.0055

## Slide 58: Sampler Performance x^3 Frequency 9.90 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 2.823176e-14
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 6.406
  Sampler 2: 7.541
Sampler Offset (rather than -1)
  -0.15558
Goodness Of fit
  0.59403