## Slide 1: Simple Load Pull Report
None

## Slide 2: Test Configuration
Frequencies: (GHz)
  8.9, 9.4, 9.9, 10.4, 10.9, 11.4, 11.9
Input Powers: (dBm)
  14, 16, 18, 22
Load Impedances:
  Gamma Magnitude:
    0.1, 0.2, 0.3, 0.4, 0.5
  Gamma Phase
    -175, -165, -155, -145, -135, -125, -115, -105, -95, -85, -75, -65, -55, -45, -35, -25, -15, -5, 5, 15, 25, 35, 45, 55, 65, 75, 85, 95, 105, 115, 125, 135, 145, 155, 165, 175
Comments
  None
Data and Time: 2025-08-11_10_30

## Slide 3: Sampler Performance Frequency 10.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 48.142
  Sampler 2: 64.290
Sampler Offset (rather than -1)
  -3.6309
Goodness Of fit
  0.08258

## Slide 4: Sampler Performance x^3 Frequency 10.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 4.995183e+01
  Sampler 2: 29.027
Sampler Av3
  Sampler 1: -10.485
  Sampler 2: 21.042
Sampler Offset (rather than -1)
  -2.8285
Goodness Of fit
  0.056858

## Slide 5: Sampler Performance Frequency 10.40 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 35.834
  Sampler 2: 48.670
Sampler Offset (rather than -1)
  -3.0615
Goodness Of fit
  0.15539

## Slide 6: Sampler Performance x^3 Frequency 10.40 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 2.563111e+01
  Sampler 2: 27.201
Sampler Av3
  Sampler 1: 11.336
  Sampler 2: 15.552
Sampler Offset (rather than -1)
  -2.1644
Goodness Of fit
  0.093627

## Slide 7: Sampler Performance Frequency 10.40 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 21.660
  Sampler 2: 29.768
Sampler Offset (rather than -1)
  -2.1708
Goodness Of fit
  0.26754

## Slide 8: Sampler Performance x^3 Frequency 10.40 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 1.359926e+01
  Sampler 2: 11.859
Sampler Av3
  Sampler 1: 9.425
  Sampler 2: 13.059
Sampler Offset (rather than -1)
  -1.3096
Goodness Of fit
  0.13436

## Slide 9: Sampler Performance Frequency 10.40 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 8.718
  Sampler 2: 12.529
Sampler Offset (rather than -1)
  -1.3472
Goodness Of fit
  0.46813

## Slide 10: Sampler Performance x^3 Frequency 10.40 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 3.345292e+00
  Sampler 2: 4.431
Sampler Av3
  Sampler 1: 6.437
  Sampler 2: 7.304
Sampler Offset (rather than -1)
  -0.66861
Goodness Of fit
  0.18317

## Slide 11: Sampler Performance Frequency 10.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 8.302
  Sampler 2: 18.228
Sampler Offset (rather than -1)
  -0.78005
Goodness Of fit
  1.036

## Slide 12: Sampler Performance x^3 Frequency 10.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 2.160730e-09
  Sampler 2: 29.370
Sampler Av3
  Sampler 1: 13.484
  Sampler 2: -13.873
Sampler Offset (rather than -1)
  -0.86898
Goodness Of fit
  0.96512

## Slide 13: Sampler Performance Frequency 10.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 22.068
  Sampler 2: 37.396
Sampler Offset (rather than -1)
  -2.1186
Goodness Of fit
  0.78544

## Slide 14: Sampler Performance x^3 Frequency 10.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 5.269389e+00
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 13.262
  Sampler 2: 19.204
Sampler Offset (rather than -1)
  -0.60894
Goodness Of fit
  0.57523

## Slide 15: Sampler Performance Frequency 10.90 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 17.147
  Sampler 2: 29.195
Sampler Offset (rather than -1)
  -1.9582
Goodness Of fit
  0.67278

## Slide 16: Sampler Performance x^3 Frequency 10.90 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 9.975550e+00
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 7.861
  Sampler 2: 15.822
Sampler Offset (rather than -1)
  -0.75865
Goodness Of fit
  0.45345

## Slide 17: Sampler Performance Frequency 10.90 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 9.593
  Sampler 2: 17.143
Sampler Offset (rather than -1)
  -1.7527
Goodness Of fit
  0.58564

## Slide 18: Sampler Performance x^3 Frequency 10.90 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 6.674241e+00
  Sampler 2: 1.381
Sampler Av3
  Sampler 1: 3.842
  Sampler 2: 9.540
Sampler Offset (rather than -1)
  -0.79795
Goodness Of fit
  0.29412

## Slide 19: Sampler Performance Frequency 11.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 22.184
  Sampler 2: 27.362
Sampler Offset (rather than -1)
  -1.5405
Goodness Of fit
  0.95969

## Slide 20: Sampler Performance x^3 Frequency 11.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 6.811078e-08
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 17.339
  Sampler 2: 19.563
Sampler Offset (rather than -1)
  -0.38013
Goodness Of fit
  0.72014

## Slide 21: Sampler Performance Frequency 11.40 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 14.660
  Sampler 2: 18.935
Sampler Offset (rather than -1)
  -1.201
Goodness Of fit
  0.96264

## Slide 22: Sampler Performance x^3 Frequency 11.40 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 3.124893e-06
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 13.138
  Sampler 2: 15.175
Sampler Offset (rather than -1)
  -0.25794
Goodness Of fit
  0.6878

## Slide 23: Sampler Performance Frequency 11.40 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 9.628
  Sampler 2: 12.871
Sampler Offset (rather than -1)
  -0.93965
Goodness Of fit
  1.072

## Slide 24: Sampler Performance x^3 Frequency 11.40 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 4.851389e-08
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 10.028
  Sampler 2: 11.813
Sampler Offset (rather than -1)
  -0.18939
Goodness Of fit
  0.72814

## Slide 25: Sampler Performance Frequency 11.40 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 4.497
  Sampler 2: 6.284
Sampler Offset (rather than -1)
  -0.69352
Goodness Of fit
  1.1124

## Slide 26: Sampler Performance x^3 Frequency 11.40 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 2.548418e-09
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 5.586
  Sampler 2: 6.710
Sampler Offset (rather than -1)
  -0.12279
Goodness Of fit
  0.69469

## Slide 27: Sampler Performance Frequency 11.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 45.091
  Sampler 2: 39.425
Sampler Offset (rather than -1)
  -2.5822
Goodness Of fit
  0.33135

## Slide 28: Sampler Performance x^3 Frequency 11.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 6.456632e-04
  Sampler 2: 23.222
Sampler Av3
  Sampler 1: 23.463
  Sampler 2: 15.303
Sampler Offset (rather than -1)
  -1.1801
Goodness Of fit
  0.25405

## Slide 29: Sampler Performance Frequency 11.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 23.642
  Sampler 2: 22.235
Sampler Offset (rather than -1)
  -1.6879
Goodness Of fit
  0.47486

## Slide 30: Sampler Performance x^3 Frequency 11.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 3.210818e-07
  Sampler 2: 11.714
Sampler Av3
  Sampler 1: 16.354
  Sampler 2: 11.151
Sampler Offset (rather than -1)
  -0.71895
Goodness Of fit
  0.33157

## Slide 31: Sampler Performance Frequency 11.90 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 14.076
  Sampler 2: 14.119
Sampler Offset (rather than -1)
  -1.2357
Goodness Of fit
  0.60595

## Slide 32: Sampler Performance x^3 Frequency 11.90 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 5.759242e-07
  Sampler 2: 5.737
Sampler Av3
  Sampler 1: 11.969
  Sampler 2: 9.040
Sampler Offset (rather than -1)
  -0.45832
Goodness Of fit
  0.40017

## Slide 33: Sampler Performance Frequency 11.90 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 6.174
  Sampler 2: 6.713
Sampler Offset (rather than -1)
  -0.89196
Goodness Of fit
  0.72187

## Slide 34: Sampler Performance x^3 Frequency 11.90 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 3.987674e-12
  Sampler 2: 2.750
Sampler Av3
  Sampler 1: 6.571
  Sampler 2: 4.961
Sampler Offset (rather than -1)
  -0.32616
Goodness Of fit
  0.44641

## Slide 35: Sampler Performance Frequency 8.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 8.883
  Sampler 2: 21.307
Sampler Offset (rather than -1)
  -0.82764
Goodness Of fit
  1.518

## Slide 36: Sampler Performance x^3 Frequency 8.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 3.450209e-14
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 14.571
  Sampler 2: 20.479
Sampler Offset (rather than -1)
  -0.25272
Goodness Of fit
  1.3218

## Slide 37: Sampler Performance Frequency 8.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 6.017
  Sampler 2: 13.926
Sampler Offset (rather than -1)
  -0.59187
Goodness Of fit
  1.5775

## Slide 38: Sampler Performance x^3 Frequency 8.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 1.945892e-10
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 12.180
  Sampler 2: 16.768
Sampler Offset (rather than -1)
  -0.19305
Goodness Of fit
  1.3127

## Slide 39: Sampler Performance Frequency 8.90 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 4.340
  Sampler 2: 9.366
Sampler Offset (rather than -1)
  -0.46503
Goodness Of fit
  1.6046

## Slide 40: Sampler Performance x^3 Frequency 8.90 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 2.927247e-10
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 9.842
  Sampler 2: 13.280
Sampler Offset (rather than -1)
  -0.15883
Goodness Of fit
  1.2535

## Slide 41: Sampler Performance Frequency 8.90 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 2.403
  Sampler 2: 4.711
Sampler Offset (rather than -1)
  -0.37643
Goodness Of fit
  1.6197

## Slide 42: Sampler Performance x^3 Frequency 8.90 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 2.220447e-14
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 5.865
  Sampler 2: 7.632
Sampler Offset (rather than -1)
  -0.13356
Goodness Of fit
  1.1183

## Slide 43: Sampler Performance Frequency 9.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 19.081
  Sampler 2: 29.429
Sampler Offset (rather than -1)
  -1.5003
Goodness Of fit
  0.81882

## Slide 44: Sampler Performance x^3 Frequency 9.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 5.521968e-11
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 16.798
  Sampler 2: 20.649
Sampler Offset (rather than -1)
  -0.40459
Goodness Of fit
  0.56606

## Slide 45: Sampler Performance Frequency 9.40 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 14.431
  Sampler 2: 21.648
Sampler Offset (rather than -1)
  -1.2153
Goodness Of fit
  0.92809

## Slide 46: Sampler Performance x^3 Frequency 9.40 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 8.056586e-10
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 14.373
  Sampler 2: 17.470
Sampler Offset (rather than -1)
  -0.32506
Goodness Of fit
  0.60734

## Slide 47: Sampler Performance Frequency 9.40 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 9.895
  Sampler 2: 13.874
Sampler Offset (rather than -1)
  -0.94222
Goodness Of fit
  0.97367

## Slide 48: Sampler Performance x^3 Frequency 9.40 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 2.306563e-14
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 11.132
  Sampler 2: 13.195
Sampler Offset (rather than -1)
  -0.23888
Goodness Of fit
  0.57837

## Slide 49: Sampler Performance Frequency 9.40 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 4.246
  Sampler 2: 5.359
Sampler Offset (rather than -1)
  -0.59193
Goodness Of fit
  1.1227

## Slide 50: Sampler Performance x^3 Frequency 9.40 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 2.676451e-14
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 6.101
  Sampler 2: 6.854
Sampler Offset (rather than -1)
  -0.14252
Goodness Of fit
  0.60853

## Slide 51: Sampler Performance Frequency 9.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 32.573
  Sampler 2: 54.781
Sampler Offset (rather than -1)
  -2.687
Goodness Of fit
  0.5466

## Slide 52: Sampler Performance x^3 Frequency 9.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 2.503456e-01
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 19.647
  Sampler 2: 24.788
Sampler Offset (rather than -1)
  -0.67035
Goodness Of fit
  0.39304

## Slide 53: Sampler Performance Frequency 9.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 19.524
  Sampler 2: 32.038
Sampler Offset (rather than -1)
  -1.8037
Goodness Of fit
  0.67332

## Slide 54: Sampler Performance x^3 Frequency 9.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 1.297947e-05
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 14.875
  Sampler 2: 18.530
Sampler Offset (rather than -1)
  -0.41175
Goodness Of fit
  0.45672

## Slide 55: Sampler Performance Frequency 9.90 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 12.292
  Sampler 2: 19.890
Sampler Offset (rather than -1)
  -1.2983
Goodness Of fit
  0.87004

## Slide 56: Sampler Performance x^3 Frequency 9.90 GHz, Power 18 dBm
Sampler Av
  Sampler 1: 5.264814e-12
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 11.625
  Sampler 2: 14.265
Sampler Offset (rather than -1)
  -0.2982
Goodness Of fit
  0.54404

## Slide 57: Sampler Performance Frequency 9.90 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 4.549
  Sampler 2: 7.337
Sampler Offset (rather than -1)
  -0.70987
Goodness Of fit
  1.0012

## Slide 58: Sampler Performance x^3 Frequency 9.90 GHz, Power 22 dBm
Sampler Av
  Sampler 1: 2.449693e-14
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 6.297
  Sampler 2: 7.539
Sampler Offset (rather than -1)
  -0.14982
Goodness Of fit
  0.59378