## Slide 1: Compare Sampler voltage from gain cal vs ideal

## Slide 2: Coupled Line Performance At 10.60 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 6.4e-06
  Sampler 2: 1.1e-05
  Sampler 1 linear: 7.9e-06
  Sampler 2 linear: 1.1e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.2
  Individual: 1.3

## Slide 3: Coupled Line Performance At 10.70 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 6.5e-06
  Sampler 2: 1.2e-05
  Sampler 1 linear: 7.9e-06
  Sampler 2 linear: 1.4e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.1
  Individual: 1.2

## Slide 4: Coupled Line Performance At 10.80 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 6.8e-06
  Sampler 2: 1e-05
  Sampler 1 linear: 8.6e-06
  Sampler 2 linear: 1.3e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.1
  Individual: 1.3

## Slide 5: Coupled Line Performance At 10.90 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 6.9e-06
  Sampler 2: 9.1e-06
  Sampler 1 linear: 8.8e-06
  Sampler 2 linear: 1.5e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.0089
RMSE
  Linear: 0.95
  Individual: 1.3

## Slide 6: Coupled Line Performance At 11.00 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 7.5e-06
  Sampler 2: 1e-05
  Sampler 1 linear: 9.4e-06
  Sampler 2 linear: 1.2e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.1
  Individual: 1.3

## Slide 7: Coupled Line Performance At 11.10 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 5.9e-06
  Sampler 2: 1.2e-05
  Sampler 1 linear: 7.1e-06
  Sampler 2 linear: 1.5e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.2
  Individual: 1.3

## Slide 8: Coupled Line Performance At 11.20 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 7.7e-06
  Sampler 2: 1.1e-05
  Sampler 1 linear: 9.5e-06
  Sampler 2 linear: 1.4e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 0.96
  Individual: 1.2

## Slide 9: Coupled Line Performance At 11.30 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 7.9e-06
  Sampler 2: 1.1e-05
  Sampler 1 linear: 9.6e-06
  Sampler 2 linear: 1.2e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.1
  Individual: 1.3

## Slide 10: Coupled Line Performance At 11.40 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 8.4e-06
  Sampler 2: 1.1e-05
  Sampler 1 linear: 9.6e-06
  Sampler 2 linear: 1.2e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.2
  Individual: 1.3

## Slide 11: Coupled Line Performance At 10.60 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 7.6e-06
  Sampler 2: 1.2e-05
  Sampler 1 linear: 7.9e-06
  Sampler 2 linear: 1.1e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.2
  Individual: 1.3

## Slide 12: Coupled Line Performance At 10.70 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 7.4e-06
  Sampler 2: 1.3e-05
  Sampler 1 linear: 7.9e-06
  Sampler 2 linear: 1.4e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.1
  Individual: 1.2

## Slide 13: Coupled Line Performance At 10.80 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 7.9e-06
  Sampler 2: 1.1e-05
  Sampler 1 linear: 8.6e-06
  Sampler 2 linear: 1.3e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.1
  Individual: 1.2

## Slide 14: Coupled Line Performance At 10.90 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 7.9e-06
  Sampler 2: 1.2e-05
  Sampler 1 linear: 8.8e-06
  Sampler 2 linear: 1.5e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.0089
RMSE
  Linear: 0.97
  Individual: 1.1

## Slide 15: Coupled Line Performance At 11.00 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 8.7e-06
  Sampler 2: 1.1e-05
  Sampler 1 linear: 9.4e-06
  Sampler 2 linear: 1.2e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.1
  Individual: 1.2

## Slide 16: Coupled Line Performance At 11.10 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 6.7e-06
  Sampler 2: 1.4e-05
  Sampler 1 linear: 7.1e-06
  Sampler 2 linear: 1.5e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.2
  Individual: 1.2

## Slide 17: Coupled Line Performance At 11.20 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 8.8e-06
  Sampler 2: 1.2e-05
  Sampler 1 linear: 9.5e-06
  Sampler 2 linear: 1.4e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1
  Individual: 1.1

## Slide 18: Coupled Line Performance At 11.30 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 9.1e-06
  Sampler 2: 1.2e-05
  Sampler 1 linear: 9.6e-06
  Sampler 2 linear: 1.2e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.1
  Individual: 1.1

## Slide 19: Coupled Line Performance At 11.40 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 8.9e-06
  Sampler 2: 1.2e-05
  Sampler 1 linear: 9.6e-06
  Sampler 2 linear: 1.2e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.1
  Individual: 1.2

## Slide 20: Coupled Line Performance At 10.60 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 9.6e-06
  Sampler 2: 1.4e-05
  Sampler 1 linear: 7.9e-06
  Sampler 2 linear: 1.1e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.4
  Individual: 1.2

## Slide 21: Coupled Line Performance At 10.70 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 9.1e-06
  Sampler 2: 1.5e-05
  Sampler 1 linear: 7.9e-06
  Sampler 2 linear: 1.4e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.2
  Individual: 1.1

## Slide 22: Coupled Line Performance At 10.80 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 1e-05
  Sampler 2: 1.4e-05
  Sampler 1 linear: 8.6e-06
  Sampler 2 linear: 1.3e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.1
  Individual: 1

## Slide 23: Coupled Line Performance At 10.90 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 9.9e-06
  Sampler 2: 1.4e-05
  Sampler 1 linear: 8.8e-06
  Sampler 2 linear: 1.5e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.0089
RMSE
  Linear: 1.1
  Individual: 1

## Slide 24: Coupled Line Performance At 11.00 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 1.1e-05
  Sampler 2: 1.3e-05
  Sampler 1 linear: 9.4e-06
  Sampler 2 linear: 1.2e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.2
  Individual: 1.1

## Slide 25: Coupled Line Performance At 11.10 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 8e-06
  Sampler 2: 1.7e-05
  Sampler 1 linear: 7.1e-06
  Sampler 2 linear: 1.5e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.3
  Individual: 1.2

## Slide 26: Coupled Line Performance At 11.20 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 1.1e-05
  Sampler 2: 1.3e-05
  Sampler 1 linear: 9.5e-06
  Sampler 2 linear: 1.4e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.1
  Individual: 1

## Slide 27: Coupled Line Performance At 11.30 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 1.2e-05
  Sampler 2: 1.4e-05
  Sampler 1 linear: 9.6e-06
  Sampler 2 linear: 1.2e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.2
  Individual: 1

## Slide 28: Coupled Line Performance At 11.40 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 1.1e-05
  Sampler 2: 1.4e-05
  Sampler 1 linear: 9.6e-06
  Sampler 2 linear: 1.2e-05
Sampler Offset
  Sampler 1: 0.0084
  Sampler 2: 0.009
RMSE
  Linear: 1.2
  Individual: 1.1

## Slide 29: Coupled Line Performance At 10.50 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00027
  Sampler 2: 0.00035
  Sampler 1 linear: 0.00022
  Sampler 2 linear: 0.00029
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 1
  Individual: 0.85

## Slide 30: Coupled Line Performance At 10.60 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00027
  Sampler 2: 0.00029
  Sampler 1 linear: 0.00022
  Sampler 2 linear: 0.00025
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 1.2
  Individual: 1

## Slide 31: Coupled Line Performance At 10.70 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00027
  Sampler 2: 0.00032
  Sampler 1 linear: 0.00023
  Sampler 2 linear: 0.00028
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 1.1
  Individual: 0.98

## Slide 32: Coupled Line Performance At 10.80 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00029
  Sampler 2: 0.00029
  Sampler 1 linear: 0.00025
  Sampler 2 linear: 0.00025
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 1.1
  Individual: 0.97

## Slide 33: Coupled Line Performance At 10.90 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00029
  Sampler 2: 0.0003
  Sampler 1 linear: 0.00024
  Sampler 2 linear: 0.00025
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 1.1
  Individual: 0.94

## Slide 34: Coupled Line Performance At 11.00 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00032
  Sampler 2: 0.00031
  Sampler 1 linear: 0.00028
  Sampler 2 linear: 0.00027
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 1.2
  Individual: 1

## Slide 35: Coupled Line Performance At 11.10 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00026
  Sampler 2: 0.00034
  Sampler 1 linear: 0.00022
  Sampler 2 linear: 0.0003
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 1.2
  Individual: 1

## Slide 36: Coupled Line Performance At 11.20 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00031
  Sampler 2: 0.00029
  Sampler 1 linear: 0.00026
  Sampler 2 linear: 0.00025
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 1.1
  Individual: 0.95

## Slide 37: Coupled Line Performance At 11.30 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00031
  Sampler 2: 0.00029
  Sampler 1 linear: 0.00027
  Sampler 2 linear: 0.00025
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 1.2
  Individual: 1

## Slide 38: Coupled Line Performance At 11.40 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.0003
  Sampler 2: 0.00031
  Sampler 1 linear: 0.00025
  Sampler 2 linear: 0.00027
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 1.4
  Individual: 1.2

## Slide 39: Coupled Line Performance At 10.50 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00027
  Sampler 2: 0.00035
  Sampler 1 linear: 0.00022
  Sampler 2 linear: 0.00029
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 0.9
  Individual: 0.72

## Slide 40: Coupled Line Performance At 10.60 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00027
  Sampler 2: 0.0003
  Sampler 1 linear: 0.00022
  Sampler 2 linear: 0.00025
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 1
  Individual: 0.85

## Slide 41: Coupled Line Performance At 10.70 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00027
  Sampler 2: 0.00033
  Sampler 1 linear: 0.00023
  Sampler 2 linear: 0.00028
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 0.97
  Individual: 0.82

## Slide 42: Coupled Line Performance At 10.80 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.0003
  Sampler 2: 0.00031
  Sampler 1 linear: 0.00025
  Sampler 2 linear: 0.00025
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 0.98
  Individual: 0.8

## Slide 43: Coupled Line Performance At 10.90 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00029
  Sampler 2: 0.00031
  Sampler 1 linear: 0.00024
  Sampler 2 linear: 0.00025
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 0.95
  Individual: 0.78

## Slide 44: Coupled Line Performance At 11.00 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00032
  Sampler 2: 0.00031
  Sampler 1 linear: 0.00028
  Sampler 2 linear: 0.00027
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 0.99
  Individual: 0.86

## Slide 45: Coupled Line Performance At 11.10 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00027
  Sampler 2: 0.00035
  Sampler 1 linear: 0.00022
  Sampler 2 linear: 0.0003
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 0.99
  Individual: 0.82

## Slide 46: Coupled Line Performance At 11.20 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00031
  Sampler 2: 0.0003
  Sampler 1 linear: 0.00026
  Sampler 2 linear: 0.00025
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 0.96
  Individual: 0.79

## Slide 47: Coupled Line Performance At 11.30 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00032
  Sampler 2: 0.0003
  Sampler 1 linear: 0.00027
  Sampler 2 linear: 0.00025
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 1
  Individual: 0.83

## Slide 48: Coupled Line Performance At 11.40 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.0003
  Sampler 2: 0.00031
  Sampler 1 linear: 0.00025
  Sampler 2 linear: 0.00027
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 1.1
  Individual: 0.91

## Slide 49: Coupled Line Performance At 10.50 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00026
  Sampler 2: 0.00035
  Sampler 1 linear: 0.00022
  Sampler 2 linear: 0.00029
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 0.79
  Individual: 0.62

## Slide 50: Coupled Line Performance At 10.60 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00028
  Sampler 2: 0.0003
  Sampler 1 linear: 0.00022
  Sampler 2 linear: 0.00025
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 0.92
  Individual: 0.72

## Slide 51: Coupled Line Performance At 10.70 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00027
  Sampler 2: 0.00033
  Sampler 1 linear: 0.00023
  Sampler 2 linear: 0.00028
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 0.84
  Individual: 0.69

## Slide 52: Coupled Line Performance At 10.80 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00029
  Sampler 2: 0.00031
  Sampler 1 linear: 0.00025
  Sampler 2 linear: 0.00025
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 0.85
  Individual: 0.68

## Slide 53: Coupled Line Performance At 10.90 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00029
  Sampler 2: 0.00031
  Sampler 1 linear: 0.00024
  Sampler 2 linear: 0.00025
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 0.83
  Individual: 0.66

## Slide 54: Coupled Line Performance At 11.00 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00031
  Sampler 2: 0.00031
  Sampler 1 linear: 0.00028
  Sampler 2 linear: 0.00027
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 0.86
  Individual: 0.74

## Slide 55: Coupled Line Performance At 11.10 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00026
  Sampler 2: 0.00035
  Sampler 1 linear: 0.00022
  Sampler 2 linear: 0.0003
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 0.87
  Individual: 0.7

## Slide 56: Coupled Line Performance At 11.20 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00031
  Sampler 2: 0.0003
  Sampler 1 linear: 0.00026
  Sampler 2 linear: 0.00025
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 0.83
  Individual: 0.66

## Slide 57: Coupled Line Performance At 11.30 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.00032
  Sampler 2: 0.0003
  Sampler 1 linear: 0.00027
  Sampler 2 linear: 0.00025
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 0.86
  Individual: 0.69

## Slide 58: Coupled Line Performance At 11.40 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 0.0003
  Sampler 2: 0.00032
  Sampler 1 linear: 0.00025
  Sampler 2 linear: 0.00027
Sampler Offset
  Sampler 1: 0.027
  Sampler 2: 0.026
RMSE
  Linear: 0.89
  Individual: 0.72

## Slide 59: Coupled Line Performance At 10.50 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00041
  Sampler 2: 0.0006
  Sampler 1 linear: 0.00038
  Sampler 2 linear: 0.00054
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.2
  Individual: 1.1

## Slide 60: Coupled Line Performance At 10.60 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00046
  Sampler 2: 0.00054
  Sampler 1 linear: 0.00042
  Sampler 2 linear: 0.00049
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.3
  Individual: 1.2

## Slide 61: Coupled Line Performance At 10.70 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00041
  Sampler 2: 0.00052
  Sampler 1 linear: 0.00039
  Sampler 2 linear: 0.0005
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.3
  Individual: 1.2

## Slide 62: Coupled Line Performance At 10.80 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00043
  Sampler 2: 0.00051
  Sampler 1 linear: 0.00041
  Sampler 2 linear: 0.00048
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.3
  Individual: 1.3

## Slide 63: Coupled Line Performance At 10.90 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00044
  Sampler 2: 0.0005
  Sampler 1 linear: 0.00041
  Sampler 2 linear: 0.00048
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.3
  Individual: 1.2

## Slide 64: Coupled Line Performance At 11.00 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00048
  Sampler 2: 0.00049
  Sampler 1 linear: 0.00044
  Sampler 2 linear: 0.00047
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.4
  Individual: 1.3

## Slide 65: Coupled Line Performance At 11.10 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00039
  Sampler 2: 0.00058
  Sampler 1 linear: 0.00037
  Sampler 2 linear: 0.00054
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.4
  Individual: 1.3

## Slide 66: Coupled Line Performance At 11.20 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00046
  Sampler 2: 0.00051
  Sampler 1 linear: 0.00044
  Sampler 2 linear: 0.00048
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.3
  Individual: 1.3

## Slide 67: Coupled Line Performance At 11.30 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00046
  Sampler 2: 0.0005
  Sampler 1 linear: 0.00044
  Sampler 2 linear: 0.00047
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.4
  Individual: 1.4

## Slide 68: Coupled Line Performance At 11.40 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00044
  Sampler 2: 0.00053
  Sampler 1 linear: 0.00042
  Sampler 2 linear: 0.0005
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.6
  Individual: 1.6

## Slide 69: Coupled Line Performance At 10.50 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00046
  Sampler 2: 0.00067
  Sampler 1 linear: 0.00038
  Sampler 2 linear: 0.00054
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1
  Individual: 0.85

## Slide 70: Coupled Line Performance At 10.60 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00051
  Sampler 2: 0.0006
  Sampler 1 linear: 0.00042
  Sampler 2 linear: 0.00049
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.1
  Individual: 0.94

## Slide 71: Coupled Line Performance At 10.70 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00047
  Sampler 2: 0.00061
  Sampler 1 linear: 0.00039
  Sampler 2 linear: 0.0005
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.1
  Individual: 0.92

## Slide 72: Coupled Line Performance At 10.80 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.0005
  Sampler 2: 0.00058
  Sampler 1 linear: 0.00041
  Sampler 2 linear: 0.00048
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.1
  Individual: 0.94

## Slide 73: Coupled Line Performance At 10.90 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.0005
  Sampler 2: 0.0006
  Sampler 1 linear: 0.00041
  Sampler 2 linear: 0.00048
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.1
  Individual: 0.92

## Slide 74: Coupled Line Performance At 11.00 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00053
  Sampler 2: 0.00057
  Sampler 1 linear: 0.00044
  Sampler 2 linear: 0.00047
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.2
  Individual: 1

## Slide 75: Coupled Line Performance At 11.10 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00045
  Sampler 2: 0.00067
  Sampler 1 linear: 0.00037
  Sampler 2 linear: 0.00054
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.2
  Individual: 1

## Slide 76: Coupled Line Performance At 11.20 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00054
  Sampler 2: 0.00059
  Sampler 1 linear: 0.00044
  Sampler 2 linear: 0.00048
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.1
  Individual: 0.94

## Slide 77: Coupled Line Performance At 11.30 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00054
  Sampler 2: 0.00058
  Sampler 1 linear: 0.00044
  Sampler 2 linear: 0.00047
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.2
  Individual: 1

## Slide 78: Coupled Line Performance At 11.40 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00051
  Sampler 2: 0.0006
  Sampler 1 linear: 0.00042
  Sampler 2 linear: 0.0005
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.3
  Individual: 1.1

## Slide 79: Coupled Line Performance At 10.50 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00048
  Sampler 2: 0.00071
  Sampler 1 linear: 0.00038
  Sampler 2 linear: 0.00054
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 0.91
  Individual: 0.68

## Slide 80: Coupled Line Performance At 10.60 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00053
  Sampler 2: 0.00063
  Sampler 1 linear: 0.00042
  Sampler 2 linear: 0.00049
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 0.98
  Individual: 0.76

## Slide 81: Coupled Line Performance At 10.70 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00049
  Sampler 2: 0.00065
  Sampler 1 linear: 0.00039
  Sampler 2 linear: 0.0005
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 0.97
  Individual: 0.74

## Slide 82: Coupled Line Performance At 10.80 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00053
  Sampler 2: 0.00062
  Sampler 1 linear: 0.00041
  Sampler 2 linear: 0.00048
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 0.97
  Individual: 0.74

## Slide 83: Coupled Line Performance At 10.90 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00053
  Sampler 2: 0.00063
  Sampler 1 linear: 0.00041
  Sampler 2 linear: 0.00048
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 0.96
  Individual: 0.72

## Slide 84: Coupled Line Performance At 11.00 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00056
  Sampler 2: 0.0006
  Sampler 1 linear: 0.00044
  Sampler 2 linear: 0.00047
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.1
  Individual: 0.83

## Slide 85: Coupled Line Performance At 11.10 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00047
  Sampler 2: 0.0007
  Sampler 1 linear: 0.00037
  Sampler 2 linear: 0.00054
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1
  Individual: 0.78

## Slide 86: Coupled Line Performance At 11.20 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00056
  Sampler 2: 0.00062
  Sampler 1 linear: 0.00044
  Sampler 2 linear: 0.00048
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 0.96
  Individual: 0.73

## Slide 87: Coupled Line Performance At 11.30 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00057
  Sampler 2: 0.00061
  Sampler 1 linear: 0.00044
  Sampler 2 linear: 0.00047
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1
  Individual: 0.78

## Slide 88: Coupled Line Performance At 11.40 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 0.00054
  Sampler 2: 0.00064
  Sampler 1 linear: 0.00042
  Sampler 2 linear: 0.0005
Sampler Offset
  Sampler 1: 0.13
  Sampler 2: 0.12
RMSE
  Linear: 1.1
  Individual: 0.83

## Slide 89: Coupled Line Performance At 10.50 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00023
  Sampler 2: 0.0004
  Sampler 1 linear: 0.00036
  Sampler 2 linear: 0.00054
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 1.1
  Individual: 1.4

## Slide 90: Coupled Line Performance At 10.60 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00027
  Sampler 2: 0.00034
  Sampler 1 linear: 0.00039
  Sampler 2 linear: 0.00048
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 1.2
  Individual: 1.6

## Slide 91: Coupled Line Performance At 10.70 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00024
  Sampler 2: 0.00034
  Sampler 1 linear: 0.00037
  Sampler 2 linear: 0.0005
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 1.2
  Individual: 1.6

## Slide 92: Coupled Line Performance At 10.80 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.0003
  Sampler 2: 0.00033
  Sampler 1 linear: 0.00041
  Sampler 2 linear: 0.00047
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 1.2
  Individual: 1.6

## Slide 93: Coupled Line Performance At 10.90 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.0003
  Sampler 2: 0.00034
  Sampler 1 linear: 0.00041
  Sampler 2 linear: 0.00049
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 1.2
  Individual: 1.5

## Slide 94: Coupled Line Performance At 11.00 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00028
  Sampler 2: 0.00034
  Sampler 1 linear: 0.00042
  Sampler 2 linear: 0.00047
Sampler Offset
  Sampler 1: 0.27
  Sampler 2: 0.26
RMSE
  Linear: 1.4
  Individual: 1.7

## Slide 95: Coupled Line Performance At 11.10 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00024
  Sampler 2: 0.00037
  Sampler 1 linear: 0.00037
  Sampler 2 linear: 0.00054
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 1.4
  Individual: 1.8

## Slide 96: Coupled Line Performance At 11.20 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.0003
  Sampler 2: 0.00036
  Sampler 1 linear: 0.00043
  Sampler 2 linear: 0.00049
Sampler Offset
  Sampler 1: 0.27
  Sampler 2: 0.26
RMSE
  Linear: 1.3
  Individual: 1.7

## Slide 97: Coupled Line Performance At 11.30 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.0003
  Sampler 2: 0.00032
  Sampler 1 linear: 0.00044
  Sampler 2 linear: 0.00047
Sampler Offset
  Sampler 1: 0.27
  Sampler 2: 0.26
RMSE
  Linear: 1.4
  Individual: 1.8

## Slide 98: Coupled Line Performance At 11.40 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00032
  Sampler 2: 0.00039
  Sampler 1 linear: 0.00042
  Sampler 2 linear: 0.0005
Sampler Offset
  Sampler 1: 0.27
  Sampler 2: 0.26
RMSE
  Linear: 1.6
  Individual: 1.9

## Slide 99: Coupled Line Performance At 10.50 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00035
  Sampler 2: 0.00056
  Sampler 1 linear: 0.00036
  Sampler 2 linear: 0.00054
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 0.94
  Individual: 0.94

## Slide 100: Coupled Line Performance At 10.60 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.0004
  Sampler 2: 0.00049
  Sampler 1 linear: 0.00039
  Sampler 2 linear: 0.00048
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 1.1
  Individual: 1.1

## Slide 101: Coupled Line Performance At 10.70 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00037
  Sampler 2: 0.00051
  Sampler 1 linear: 0.00037
  Sampler 2 linear: 0.0005
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 1.1
  Individual: 1

## Slide 102: Coupled Line Performance At 10.80 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00042
  Sampler 2: 0.00049
  Sampler 1 linear: 0.00041
  Sampler 2 linear: 0.00047
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 1
  Individual: 1

## Slide 103: Coupled Line Performance At 10.90 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00042
  Sampler 2: 0.00051
  Sampler 1 linear: 0.00041
  Sampler 2 linear: 0.00049
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 1
  Individual: 1

## Slide 104: Coupled Line Performance At 11.00 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00042
  Sampler 2: 0.00049
  Sampler 1 linear: 0.00042
  Sampler 2 linear: 0.00047
Sampler Offset
  Sampler 1: 0.27
  Sampler 2: 0.26
RMSE
  Linear: 1.2
  Individual: 1.2

## Slide 105: Coupled Line Performance At 11.10 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00037
  Sampler 2: 0.00056
  Sampler 1 linear: 0.00037
  Sampler 2 linear: 0.00054
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 1.2
  Individual: 1.2

## Slide 106: Coupled Line Performance At 11.20 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00044
  Sampler 2: 0.0005
  Sampler 1 linear: 0.00043
  Sampler 2 linear: 0.00049
Sampler Offset
  Sampler 1: 0.27
  Sampler 2: 0.26
RMSE
  Linear: 1.1
  Individual: 1.1

## Slide 107: Coupled Line Performance At 11.30 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00045
  Sampler 2: 0.00047
  Sampler 1 linear: 0.00044
  Sampler 2 linear: 0.00047
Sampler Offset
  Sampler 1: 0.27
  Sampler 2: 0.26
RMSE
  Linear: 1.2
  Individual: 1.2

## Slide 108: Coupled Line Performance At 11.40 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00044
  Sampler 2: 0.00052
  Sampler 1 linear: 0.00042
  Sampler 2 linear: 0.0005
Sampler Offset
  Sampler 1: 0.27
  Sampler 2: 0.26
RMSE
  Linear: 1.3
  Individual: 1.2

## Slide 109: Coupled Line Performance At 10.50 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00041
  Sampler 2: 0.00066
  Sampler 1 linear: 0.00036
  Sampler 2 linear: 0.00054
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 0.86
  Individual: 0.71

## Slide 110: Coupled Line Performance At 10.60 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00046
  Sampler 2: 0.00058
  Sampler 1 linear: 0.00039
  Sampler 2 linear: 0.00048
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 0.97
  Individual: 0.8

## Slide 111: Coupled Line Performance At 10.70 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00044
  Sampler 2: 0.00061
  Sampler 1 linear: 0.00037
  Sampler 2 linear: 0.0005
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 0.94
  Individual: 0.78

## Slide 112: Coupled Line Performance At 10.80 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00048
  Sampler 2: 0.00057
  Sampler 1 linear: 0.00041
  Sampler 2 linear: 0.00047
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 0.94
  Individual: 0.78

## Slide 113: Coupled Line Performance At 10.90 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00048
  Sampler 2: 0.00059
  Sampler 1 linear: 0.00041
  Sampler 2 linear: 0.00049
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 0.92
  Individual: 0.77

## Slide 114: Coupled Line Performance At 11.00 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00049
  Sampler 2: 0.00056
  Sampler 1 linear: 0.00042
  Sampler 2 linear: 0.00047
Sampler Offset
  Sampler 1: 0.27
  Sampler 2: 0.26
RMSE
  Linear: 1
  Individual: 0.88

## Slide 115: Coupled Line Performance At 11.10 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00042
  Sampler 2: 0.00066
  Sampler 1 linear: 0.00037
  Sampler 2 linear: 0.00054
Sampler Offset
  Sampler 1: 0.26
  Sampler 2: 0.26
RMSE
  Linear: 1
  Individual: 0.87

## Slide 116: Coupled Line Performance At 11.20 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00051
  Sampler 2: 0.00059
  Sampler 1 linear: 0.00043
  Sampler 2 linear: 0.00049
Sampler Offset
  Sampler 1: 0.27
  Sampler 2: 0.26
RMSE
  Linear: 0.97
  Individual: 0.8

## Slide 117: Coupled Line Performance At 11.30 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.00052
  Sampler 2: 0.00056
  Sampler 1 linear: 0.00044
  Sampler 2 linear: 0.00047
Sampler Offset
  Sampler 1: 0.27
  Sampler 2: 0.26
RMSE
  Linear: 1
  Individual: 0.85

## Slide 118: Coupled Line Performance At 11.40 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 0.0005
  Sampler 2: 0.00061
  Sampler 1 linear: 0.00042
  Sampler 2 linear: 0.0005
Sampler Offset
  Sampler 1: 0.27
  Sampler 2: 0.26
RMSE
  Linear: 1.1
  Individual: 0.89

## Slide 119: Coupled Line Performance At 10.50 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00022
  Sampler 2: 0.00031
  Sampler 1 linear: 0.00032
  Sampler 2 linear: 0.00048
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.78
  Individual: 1.2

## Slide 120: Coupled Line Performance At 10.60 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00022
  Sampler 2: 0.00029
  Sampler 1 linear: 0.00035
  Sampler 2 linear: 0.00043
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.86
  Individual: 1.3

## Slide 121: Coupled Line Performance At 10.70 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.0002
  Sampler 2: 0.00028
  Sampler 1 linear: 0.00033
  Sampler 2 linear: 0.00045
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.89
  Individual: 1.4

## Slide 122: Coupled Line Performance At 10.80 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00024
  Sampler 2: 0.00029
  Sampler 1 linear: 0.00037
  Sampler 2 linear: 0.00043
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.93
  Individual: 1.3

## Slide 123: Coupled Line Performance At 10.90 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00024
  Sampler 2: 0.00028
  Sampler 1 linear: 0.00036
  Sampler 2 linear: 0.00044
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.9
  Individual: 1.3

## Slide 124: Coupled Line Performance At 11.00 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00025
  Sampler 2: 0.00028
  Sampler 1 linear: 0.00038
  Sampler 2 linear: 0.00043
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 1.1
  Individual: 1.5

## Slide 125: Coupled Line Performance At 11.10 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00022
  Sampler 2: 0.00032
  Sampler 1 linear: 0.00033
  Sampler 2 linear: 0.00049
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 1.1
  Individual: 1.5

## Slide 126: Coupled Line Performance At 11.20 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00025
  Sampler 2: 0.00029
  Sampler 1 linear: 0.00039
  Sampler 2 linear: 0.00044
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 1
  Individual: 1.4

## Slide 127: Coupled Line Performance At 11.30 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00026
  Sampler 2: 0.00028
  Sampler 1 linear: 0.0004
  Sampler 2 linear: 0.00043
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 1.1
  Individual: 1.6

## Slide 128: Coupled Line Performance At 11.40 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00029
  Sampler 2: 0.0003
  Sampler 1 linear: 0.00038
  Sampler 2 linear: 0.00045
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 1.3
  Individual: 1.6

## Slide 129: Coupled Line Performance At 10.50 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.0003
  Sampler 2: 0.00046
  Sampler 1 linear: 0.00032
  Sampler 2 linear: 0.00048
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.74
  Individual: 0.79

## Slide 130: Coupled Line Performance At 10.60 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00034
  Sampler 2: 0.00042
  Sampler 1 linear: 0.00035
  Sampler 2 linear: 0.00043
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.84
  Individual: 0.88

## Slide 131: Coupled Line Performance At 10.70 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00031
  Sampler 2: 0.00043
  Sampler 1 linear: 0.00033
  Sampler 2 linear: 0.00045
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.83
  Individual: 0.89

## Slide 132: Coupled Line Performance At 10.80 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00035
  Sampler 2: 0.00042
  Sampler 1 linear: 0.00037
  Sampler 2 linear: 0.00043
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.85
  Individual: 0.89

## Slide 133: Coupled Line Performance At 10.90 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00035
  Sampler 2: 0.00043
  Sampler 1 linear: 0.00036
  Sampler 2 linear: 0.00044
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.83
  Individual: 0.86

## Slide 134: Coupled Line Performance At 11.00 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00036
  Sampler 2: 0.00041
  Sampler 1 linear: 0.00038
  Sampler 2 linear: 0.00043
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.98
  Individual: 1

## Slide 135: Coupled Line Performance At 11.10 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00032
  Sampler 2: 0.00049
  Sampler 1 linear: 0.00033
  Sampler 2 linear: 0.00049
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.96
  Individual: 0.99

## Slide 136: Coupled Line Performance At 11.20 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00037
  Sampler 2: 0.00043
  Sampler 1 linear: 0.00039
  Sampler 2 linear: 0.00044
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.88
  Individual: 0.92

## Slide 137: Coupled Line Performance At 11.30 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00039
  Sampler 2: 0.00042
  Sampler 1 linear: 0.0004
  Sampler 2 linear: 0.00043
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.96
  Individual: 0.98

## Slide 138: Coupled Line Performance At 11.40 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00037
  Sampler 2: 0.00043
  Sampler 1 linear: 0.00038
  Sampler 2 linear: 0.00045
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 1
  Individual: 1.1

## Slide 139: Coupled Line Performance At 10.50 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00036
  Sampler 2: 0.00056
  Sampler 1 linear: 0.00032
  Sampler 2 linear: 0.00048
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.71
  Individual: 0.59

## Slide 140: Coupled Line Performance At 10.60 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00039
  Sampler 2: 0.00049
  Sampler 1 linear: 0.00035
  Sampler 2 linear: 0.00043
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.82
  Individual: 0.71

## Slide 141: Coupled Line Performance At 10.70 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00037
  Sampler 2: 0.00052
  Sampler 1 linear: 0.00033
  Sampler 2 linear: 0.00045
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.79
  Individual: 0.68

## Slide 142: Coupled Line Performance At 10.80 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00041
  Sampler 2: 0.00049
  Sampler 1 linear: 0.00037
  Sampler 2 linear: 0.00043
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.79
  Individual: 0.67

## Slide 143: Coupled Line Performance At 10.90 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00041
  Sampler 2: 0.00051
  Sampler 1 linear: 0.00036
  Sampler 2 linear: 0.00044
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.77
  Individual: 0.65

## Slide 144: Coupled Line Performance At 11.00 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00043
  Sampler 2: 0.00049
  Sampler 1 linear: 0.00038
  Sampler 2 linear: 0.00043
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.89
  Individual: 0.77

## Slide 145: Coupled Line Performance At 11.10 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00037
  Sampler 2: 0.00057
  Sampler 1 linear: 0.00033
  Sampler 2 linear: 0.00049
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.87
  Individual: 0.75

## Slide 146: Coupled Line Performance At 11.20 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00044
  Sampler 2: 0.0005
  Sampler 1 linear: 0.00039
  Sampler 2 linear: 0.00044
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.79
  Individual: 0.67

## Slide 147: Coupled Line Performance At 11.30 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00046
  Sampler 2: 0.0005
  Sampler 1 linear: 0.0004
  Sampler 2 linear: 0.00043
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.85
  Individual: 0.72

## Slide 148: Coupled Line Performance At 11.40 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 0.00044
  Sampler 2: 0.00052
  Sampler 1 linear: 0.00038
  Sampler 2 linear: 0.00045
Sampler Offset
  Sampler 1: 0.41
  Sampler 2: 0.41
RMSE
  Linear: 0.9
  Individual: 0.78