## Slide 1: Coupledline Compiled Data

## Slide 2: Coupled Line Performance At 10.60 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 237.336
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -5.0668952047004909
Sampler 1 Range
  0.00199
Sampler 2 Range
  0.00128
DUT output dBm Mean
  15.97700
DUT input dBm Mean
  16.53687
RMS Error
0.10272

## Slide 3: Coupled Line Performance At 10.70 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 237.336
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -5.0668952047004909
Sampler 1 Range
  0.00146
Sampler 2 Range
  0.00123
DUT output dBm Mean
  16.00637
DUT input dBm Mean
  16.43286
RMS Error
0.13795

## Slide 4: Coupled Line Performance At 10.80 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 237.336
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -5.0668952047004909
Sampler 1 Range
  0.00131
Sampler 2 Range
  0.00116
DUT output dBm Mean
  15.99252
DUT input dBm Mean
  16.44173
RMS Error
0.13441

## Slide 5: Coupled Line Performance At 10.90 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 237.336
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -5.0668952047004909
Sampler 1 Range
  0.00132
Sampler 2 Range
  0.00127
DUT output dBm Mean
  15.98133
DUT input dBm Mean
  16.50231
RMS Error
0.11880

## Slide 6: Coupled Line Performance At 11.00 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 237.336
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -5.0668952047004909
Sampler 1 Range
  0.00160
Sampler 2 Range
  0.00106
DUT output dBm Mean
  16.01625
DUT input dBm Mean
  16.45544
RMS Error
0.10711

## Slide 7: Coupled Line Performance At 11.10 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 237.336
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -5.0668952047004909
Sampler 1 Range
  0.00169
Sampler 2 Range
  0.00124
DUT output dBm Mean
  16.03071
DUT input dBm Mean
  16.51571
RMS Error
0.14368

## Slide 8: Coupled Line Performance At 11.20 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 237.336
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -5.0668952047004909
Sampler 1 Range
  0.00145
Sampler 2 Range
  0.00135
DUT output dBm Mean
  16.01870
DUT input dBm Mean
  16.53604
RMS Error
0.12520

## Slide 9: Coupled Line Performance At 11.30 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 237.336
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -5.0668952047004909
Sampler 1 Range
  0.00180
Sampler 2 Range
  0.00121
DUT output dBm Mean
  16.01902
DUT input dBm Mean
  16.52141
RMS Error
0.15670

## Slide 10: Coupled Line Performance At 11.40 GHz, 16.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 237.336
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -5.0668952047004909
Sampler 1 Range
  0.00157
Sampler 2 Range
  0.00177
DUT output dBm Mean
  16.08653
DUT input dBm Mean
  16.59465
RMS Error
0.21820

## Slide 11: Coupled Line Performance At 10.60 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 186.820
  Sampler 2: 262.115
Sampler Offset (rather than -1)
  -4.4644800144133949
Sampler 1 Range
  0.00452
Sampler 2 Range
  0.00231
DUT output dBm Mean
  17.95994
DUT input dBm Mean
  18.52291
RMS Error
0.11865

## Slide 12: Coupled Line Performance At 10.70 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 186.820
  Sampler 2: 262.115
Sampler Offset (rather than -1)
  -4.4644800144133949
Sampler 1 Range
  0.00326
Sampler 2 Range
  0.00233
DUT output dBm Mean
  17.98313
DUT input dBm Mean
  18.41311
RMS Error
0.08089

## Slide 13: Coupled Line Performance At 10.80 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 186.820
  Sampler 2: 262.115
Sampler Offset (rather than -1)
  -4.4644800144133949
Sampler 1 Range
  0.00246
Sampler 2 Range
  0.00255
DUT output dBm Mean
  17.97668
DUT input dBm Mean
  18.43052
RMS Error
0.12575

## Slide 14: Coupled Line Performance At 10.90 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 186.820
  Sampler 2: 262.115
Sampler Offset (rather than -1)
  -4.4644800144133949
Sampler 1 Range
  0.00287
Sampler 2 Range
  0.00243
DUT output dBm Mean
  17.96325
DUT input dBm Mean
  18.48621
RMS Error
0.06615

## Slide 15: Coupled Line Performance At 11.00 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 186.820
  Sampler 2: 262.115
Sampler Offset (rather than -1)
  -4.4644800144133949
Sampler 1 Range
  0.00335
Sampler 2 Range
  0.00238
DUT output dBm Mean
  17.99314
DUT input dBm Mean
  18.43569
RMS Error
0.10913

## Slide 16: Coupled Line Performance At 11.10 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 186.820
  Sampler 2: 262.115
Sampler Offset (rather than -1)
  -4.4644800144133949
Sampler 1 Range
  0.00338
Sampler 2 Range
  0.00245
DUT output dBm Mean
  18.00855
DUT input dBm Mean
  18.49477
RMS Error
0.13414

## Slide 17: Coupled Line Performance At 11.20 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 186.820
  Sampler 2: 262.115
Sampler Offset (rather than -1)
  -4.4644800144133949
Sampler 1 Range
  0.00302
Sampler 2 Range
  0.00258
DUT output dBm Mean
  17.97973
DUT input dBm Mean
  18.49973
RMS Error
0.11055

## Slide 18: Coupled Line Performance At 11.30 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 186.820
  Sampler 2: 262.115
Sampler Offset (rather than -1)
  -4.4644800144133949
Sampler 1 Range
  0.00357
Sampler 2 Range
  0.00241
DUT output dBm Mean
  17.99093
DUT input dBm Mean
  18.49604
RMS Error
0.13361

## Slide 19: Coupled Line Performance At 11.40 GHz, 18.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 186.820
  Sampler 2: 262.115
Sampler Offset (rather than -1)
  -4.4644800144133949
Sampler 1 Range
  0.00317
Sampler 2 Range
  0.00306
DUT output dBm Mean
  17.98057
DUT input dBm Mean
  18.48904
RMS Error
0.18611

## Slide 20: Coupled Line Performance At 10.60 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 80.745
  Sampler 2: 114.636
Sampler Offset (rather than -1)
  -2.088820866497791
Sampler 1 Range
  0.00996
Sampler 2 Range
  0.00515
DUT output dBm Mean
  19.95554
DUT input dBm Mean
  20.52320
RMS Error
0.10591

## Slide 21: Coupled Line Performance At 10.70 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 80.745
  Sampler 2: 114.636
Sampler Offset (rather than -1)
  -2.088820866497791
Sampler 1 Range
  0.00728
Sampler 2 Range
  0.00510
DUT output dBm Mean
  19.97484
DUT input dBm Mean
  20.41074
RMS Error
0.07873

## Slide 22: Coupled Line Performance At 10.80 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 80.745
  Sampler 2: 114.636
Sampler Offset (rather than -1)
  -2.088820866497791
Sampler 1 Range
  0.00538
Sampler 2 Range
  0.00557
DUT output dBm Mean
  19.95833
DUT input dBm Mean
  20.41704
RMS Error
0.11415

## Slide 23: Coupled Line Performance At 10.90 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 80.745
  Sampler 2: 114.636
Sampler Offset (rather than -1)
  -2.088820866497791
Sampler 1 Range
  0.00643
Sampler 2 Range
  0.00542
DUT output dBm Mean
  19.95208
DUT input dBm Mean
  20.47927
RMS Error
0.06337

## Slide 24: Coupled Line Performance At 11.00 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 80.745
  Sampler 2: 114.636
Sampler Offset (rather than -1)
  -2.088820866497791
Sampler 1 Range
  0.00766
Sampler 2 Range
  0.00486
DUT output dBm Mean
  19.97735
DUT input dBm Mean
  20.42446
RMS Error
0.10258

## Slide 25: Coupled Line Performance At 11.10 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 80.745
  Sampler 2: 114.636
Sampler Offset (rather than -1)
  -2.088820866497791
Sampler 1 Range
  0.00689
Sampler 2 Range
  0.00554
DUT output dBm Mean
  19.99462
DUT input dBm Mean
  20.48489
RMS Error
0.12429

## Slide 26: Coupled Line Performance At 11.20 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 80.745
  Sampler 2: 114.636
Sampler Offset (rather than -1)
  -2.088820866497791
Sampler 1 Range
  0.00675
Sampler 2 Range
  0.00560
DUT output dBm Mean
  19.96828
DUT input dBm Mean
  20.49061
RMS Error
0.09956

## Slide 27: Coupled Line Performance At 11.30 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 80.745
  Sampler 2: 114.636
Sampler Offset (rather than -1)
  -2.088820866497791
Sampler 1 Range
  0.00786
Sampler 2 Range
  0.00512
DUT output dBm Mean
  19.98845
DUT input dBm Mean
  20.49725
RMS Error
0.11431

## Slide 28: Coupled Line Performance At 11.40 GHz, 20.000000 dBm Output Power 1.00 V mean sampler bias
Sampler Av
  Sampler 1: 80.745
  Sampler 2: 114.636
Sampler Offset (rather than -1)
  -2.088820866497791
Sampler 1 Range
  0.00660
Sampler 2 Range
  0.00653
DUT output dBm Mean
  19.97018
DUT input dBm Mean
  20.47952
RMS Error
0.13732

## Slide 29: Coupled Line Performance At 10.50 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 73.032
  Sampler 2: 99.267
Sampler Offset (rather than -1)
  -6.0202490571713012
Sampler 1 Range
  0.00997
Sampler 2 Range
  0.00855
DUT output dBm Mean
  11.97690
DUT input dBm Mean
  12.35384
RMS Error
0.21050

## Slide 30: Coupled Line Performance At 10.60 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 73.032
  Sampler 2: 99.267
Sampler Offset (rather than -1)
  -6.0202490571713012
Sampler 1 Range
  0.01319
Sampler 2 Range
  0.00930
DUT output dBm Mean
  11.95880
DUT input dBm Mean
  12.51334
RMS Error
0.27439

## Slide 31: Coupled Line Performance At 10.70 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 73.032
  Sampler 2: 99.267
Sampler Offset (rather than -1)
  -6.0202490571713012
Sampler 1 Range
  0.01112
Sampler 2 Range
  0.00927
DUT output dBm Mean
  11.99715
DUT input dBm Mean
  12.41888
RMS Error
0.14886

## Slide 32: Coupled Line Performance At 10.80 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 73.032
  Sampler 2: 99.267
Sampler Offset (rather than -1)
  -6.0202490571713012
Sampler 1 Range
  0.00989
Sampler 2 Range
  0.00871
DUT output dBm Mean
  11.97586
DUT input dBm Mean
  12.42022
RMS Error
0.14782

## Slide 33: Coupled Line Performance At 10.90 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 73.032
  Sampler 2: 99.267
Sampler Offset (rather than -1)
  -6.0202490571713012
Sampler 1 Range
  0.01060
Sampler 2 Range
  0.00918
DUT output dBm Mean
  11.96901
DUT input dBm Mean
  12.48683
RMS Error
0.08309

## Slide 34: Coupled Line Performance At 11.00 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 73.032
  Sampler 2: 99.267
Sampler Offset (rather than -1)
  -6.0202490571713012
Sampler 1 Range
  0.01191
Sampler 2 Range
  0.00775
DUT output dBm Mean
  11.99300
DUT input dBm Mean
  12.42804
RMS Error
0.11175

## Slide 35: Coupled Line Performance At 11.10 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 73.032
  Sampler 2: 99.267
Sampler Offset (rather than -1)
  -6.0202490571713012
Sampler 1 Range
  0.01148
Sampler 2 Range
  0.00916
DUT output dBm Mean
  12.01753
DUT input dBm Mean
  12.50236
RMS Error
0.20412

## Slide 36: Coupled Line Performance At 11.20 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 73.032
  Sampler 2: 99.267
Sampler Offset (rather than -1)
  -6.0202490571713012
Sampler 1 Range
  0.01119
Sampler 2 Range
  0.00896
DUT output dBm Mean
  11.99410
DUT input dBm Mean
  12.50507
RMS Error
0.21784

## Slide 37: Coupled Line Performance At 11.30 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 73.032
  Sampler 2: 99.267
Sampler Offset (rather than -1)
  -6.0202490571713012
Sampler 1 Range
  0.01123
Sampler 2 Range
  0.00872
DUT output dBm Mean
  12.00444
DUT input dBm Mean
  12.50373
RMS Error
0.30766

## Slide 38: Coupled Line Performance At 11.40 GHz, 12.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 73.032
  Sampler 2: 99.267
Sampler Offset (rather than -1)
  -6.0202490571713012
Sampler 1 Range
  0.01088
Sampler 2 Range
  0.01013
DUT output dBm Mean
  11.99206
DUT input dBm Mean
  12.49232
RMS Error
0.55937

## Slide 39: Coupled Line Performance At 10.50 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 63.330
  Sampler 2: 83.676
Sampler Offset (rather than -1)
  -5.5787199607588462
Sampler 1 Range
  0.01516
Sampler 2 Range
  0.01319
DUT output dBm Mean
  13.93180
DUT input dBm Mean
  14.31061
RMS Error
0.17918

## Slide 40: Coupled Line Performance At 10.60 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 63.330
  Sampler 2: 83.676
Sampler Offset (rather than -1)
  -5.5787199607588462
Sampler 1 Range
  0.01887
Sampler 2 Range
  0.01393
DUT output dBm Mean
  13.91625
DUT input dBm Mean
  14.47170
RMS Error
0.23649

## Slide 41: Coupled Line Performance At 10.70 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 63.330
  Sampler 2: 83.676
Sampler Offset (rather than -1)
  -5.5787199607588462
Sampler 1 Range
  0.01704
Sampler 2 Range
  0.01302
DUT output dBm Mean
  13.94898
DUT input dBm Mean
  14.37143
RMS Error
0.14529

## Slide 42: Coupled Line Performance At 10.80 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 63.330
  Sampler 2: 83.676
Sampler Offset (rather than -1)
  -5.5787199607588462
Sampler 1 Range
  0.01507
Sampler 2 Range
  0.01338
DUT output dBm Mean
  13.93549
DUT input dBm Mean
  14.38026
RMS Error
0.13667

## Slide 43: Coupled Line Performance At 10.90 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 63.330
  Sampler 2: 83.676
Sampler Offset (rather than -1)
  -5.5787199607588462
Sampler 1 Range
  0.01588
Sampler 2 Range
  0.01364
DUT output dBm Mean
  13.92341
DUT input dBm Mean
  14.44060
RMS Error
0.09116

## Slide 44: Coupled Line Performance At 11.00 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 63.330
  Sampler 2: 83.676
Sampler Offset (rather than -1)
  -5.5787199607588462
Sampler 1 Range
  0.01754
Sampler 2 Range
  0.01292
DUT output dBm Mean
  13.95098
DUT input dBm Mean
  14.38547
RMS Error
0.10436

## Slide 45: Coupled Line Performance At 11.10 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 63.330
  Sampler 2: 83.676
Sampler Offset (rather than -1)
  -5.5787199607588462
Sampler 1 Range
  0.01680
Sampler 2 Range
  0.01397
DUT output dBm Mean
  13.97130
DUT input dBm Mean
  14.45605
RMS Error
0.16908

## Slide 46: Coupled Line Performance At 11.20 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 63.330
  Sampler 2: 83.676
Sampler Offset (rather than -1)
  -5.5787199607588462
Sampler 1 Range
  0.01649
Sampler 2 Range
  0.01326
DUT output dBm Mean
  13.94430
DUT input dBm Mean
  14.45486
RMS Error
0.19303

## Slide 47: Coupled Line Performance At 11.30 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 63.330
  Sampler 2: 83.676
Sampler Offset (rather than -1)
  -5.5787199607588462
Sampler 1 Range
  0.01708
Sampler 2 Range
  0.01275
DUT output dBm Mean
  13.96108
DUT input dBm Mean
  14.45967
RMS Error
0.27657

## Slide 48: Coupled Line Performance At 11.40 GHz, 14.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 63.330
  Sampler 2: 83.676
Sampler Offset (rather than -1)
  -5.5787199607588462
Sampler 1 Range
  0.01575
Sampler 2 Range
  0.01485
DUT output dBm Mean
  13.94967
DUT input dBm Mean
  14.44990
RMS Error
0.41064

## Slide 49: Coupled Line Performance At 10.50 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 46.630
  Sampler 2: 60.057
Sampler Offset (rather than -1)
  -4.5202169113830299
Sampler 1 Range
  0.02246
Sampler 2 Range
  0.01964
DUT output dBm Mean
  15.89143
DUT input dBm Mean
  16.27347
RMS Error
0.14944

## Slide 50: Coupled Line Performance At 10.60 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 46.630
  Sampler 2: 60.057
Sampler Offset (rather than -1)
  -4.5202169113830299
Sampler 1 Range
  0.02863
Sampler 2 Range
  0.02033
DUT output dBm Mean
  15.88481
DUT input dBm Mean
  16.44211
RMS Error
0.20576

## Slide 51: Coupled Line Performance At 10.70 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 46.630
  Sampler 2: 60.057
Sampler Offset (rather than -1)
  -4.5202169113830299
Sampler 1 Range
  0.02490
Sampler 2 Range
  0.01978
DUT output dBm Mean
  15.91656
DUT input dBm Mean
  16.34040
RMS Error
0.15845

## Slide 52: Coupled Line Performance At 10.80 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 46.630
  Sampler 2: 60.057
Sampler Offset (rather than -1)
  -4.5202169113830299
Sampler 1 Range
  0.02176
Sampler 2 Range
  0.01962
DUT output dBm Mean
  15.89489
DUT input dBm Mean
  16.34168
RMS Error
0.12944

## Slide 53: Coupled Line Performance At 10.90 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 46.630
  Sampler 2: 60.057
Sampler Offset (rather than -1)
  -4.5202169113830299
Sampler 1 Range
  0.02367
Sampler 2 Range
  0.02011
DUT output dBm Mean
  15.88941
DUT input dBm Mean
  16.40747
RMS Error
0.05619

## Slide 54: Coupled Line Performance At 11.00 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 46.630
  Sampler 2: 60.057
Sampler Offset (rather than -1)
  -4.5202169113830299
Sampler 1 Range
  0.02547
Sampler 2 Range
  0.01868
DUT output dBm Mean
  15.91192
DUT input dBm Mean
  16.34808
RMS Error
0.08777

## Slide 55: Coupled Line Performance At 11.10 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 46.630
  Sampler 2: 60.057
Sampler Offset (rather than -1)
  -4.5202169113830299
Sampler 1 Range
  0.02432
Sampler 2 Range
  0.02143
DUT output dBm Mean
  15.94221
DUT input dBm Mean
  16.42825
RMS Error
0.15812

## Slide 56: Coupled Line Performance At 11.20 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 46.630
  Sampler 2: 60.057
Sampler Offset (rather than -1)
  -4.5202169113830299
Sampler 1 Range
  0.02448
Sampler 2 Range
  0.01989
DUT output dBm Mean
  15.90423
DUT input dBm Mean
  16.41613
RMS Error
0.16028

## Slide 57: Coupled Line Performance At 11.30 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 46.630
  Sampler 2: 60.057
Sampler Offset (rather than -1)
  -4.5202169113830299
Sampler 1 Range
  0.02582
Sampler 2 Range
  0.01947
DUT output dBm Mean
  15.93590
DUT input dBm Mean
  16.43511
RMS Error
0.26327

## Slide 58: Coupled Line Performance At 11.40 GHz, 16.000000 dBm Output Power 1.25 V mean sampler bias
Sampler Av
  Sampler 1: 46.630
  Sampler 2: 60.057
Sampler Offset (rather than -1)
  -4.5202169113830299
Sampler 1 Range
  0.02300
Sampler 2 Range
  0.02260
DUT output dBm Mean
  15.90804
DUT input dBm Mean
  16.40901
RMS Error
0.29391

## Slide 59: Coupled Line Performance At 10.50 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 122.714
  Sampler 2: 147.987
Sampler Offset (rather than -1)
  -35.812914468322518
Sampler 1 Range
  0.00740
Sampler 2 Range
  0.00726
DUT output dBm Mean
  7.98123
DUT input dBm Mean
  8.35573
RMS Error
0.46042

## Slide 60: Coupled Line Performance At 10.60 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 122.714
  Sampler 2: 147.987
Sampler Offset (rather than -1)
  -35.812914468322518
Sampler 1 Range
  0.00946
Sampler 2 Range
  0.00749
DUT output dBm Mean
  7.96929
DUT input dBm Mean
  8.52157
RMS Error
0.44176

## Slide 61: Coupled Line Performance At 10.70 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 122.714
  Sampler 2: 147.987
Sampler Offset (rather than -1)
  -35.812914468322518
Sampler 1 Range
  0.00821
Sampler 2 Range
  0.00731
DUT output dBm Mean
  8.00383
DUT input dBm Mean
  8.42507
RMS Error
0.33771

## Slide 62: Coupled Line Performance At 10.80 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 122.714
  Sampler 2: 147.987
Sampler Offset (rather than -1)
  -35.812914468322518
Sampler 1 Range
  0.00734
Sampler 2 Range
  0.00718
DUT output dBm Mean
  7.98583
DUT input dBm Mean
  8.42928
RMS Error
0.22711

## Slide 63: Coupled Line Performance At 10.90 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 122.714
  Sampler 2: 147.987
Sampler Offset (rather than -1)
  -35.812914468322518
Sampler 1 Range
  0.00781
Sampler 2 Range
  0.00729
DUT output dBm Mean
  7.98851
DUT input dBm Mean
  8.50248
RMS Error
0.08831

## Slide 64: Coupled Line Performance At 11.00 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 122.714
  Sampler 2: 147.987
Sampler Offset (rather than -1)
  -35.812914468322518
Sampler 1 Range
  0.00851
Sampler 2 Range
  0.00666
DUT output dBm Mean
  8.00101
DUT input dBm Mean
  8.43453
RMS Error
0.15872

## Slide 65: Coupled Line Performance At 11.10 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 122.714
  Sampler 2: 147.987
Sampler Offset (rather than -1)
  -35.812914468322518
Sampler 1 Range
  0.00819
Sampler 2 Range
  0.00761
DUT output dBm Mean
  8.02406
DUT input dBm Mean
  8.50690
RMS Error
0.28422

## Slide 66: Coupled Line Performance At 11.20 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 122.714
  Sampler 2: 147.987
Sampler Offset (rather than -1)
  -35.812914468322518
Sampler 1 Range
  0.00828
Sampler 2 Range
  0.00718
DUT output dBm Mean
  8.00285
DUT input dBm Mean
  8.51427
RMS Error
0.35850

## Slide 67: Coupled Line Performance At 11.30 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 122.714
  Sampler 2: 147.987
Sampler Offset (rather than -1)
  -35.812914468322518
Sampler 1 Range
  0.00843
Sampler 2 Range
  0.00716
DUT output dBm Mean
  8.02025
DUT input dBm Mean
  8.51770
RMS Error
0.47290

## Slide 68: Coupled Line Performance At 11.40 GHz, 8.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 122.714
  Sampler 2: 147.987
Sampler Offset (rather than -1)
  -35.812914468322518
Sampler 1 Range
  0.00783
Sampler 2 Range
  0.00797
DUT output dBm Mean
  7.99605
DUT input dBm Mean
  8.49604
RMS Error
0.76006

## Slide 69: Coupled Line Performance At 10.50 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 95.816
  Sampler 2: 115.848
Sampler Offset (rather than -1)
  -28.508052772407815
Sampler 1 Range
  0.01116
Sampler 2 Range
  0.01093
DUT output dBm Mean
  9.97418
DUT input dBm Mean
  10.35095
RMS Error
0.37087

## Slide 70: Coupled Line Performance At 10.60 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 95.816
  Sampler 2: 115.848
Sampler Offset (rather than -1)
  -28.508052772407815
Sampler 1 Range
  0.01410
Sampler 2 Range
  0.01141
DUT output dBm Mean
  9.96974
DUT input dBm Mean
  10.52382
RMS Error
0.37949

## Slide 71: Coupled Line Performance At 10.70 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 95.816
  Sampler 2: 115.848
Sampler Offset (rather than -1)
  -28.508052772407815
Sampler 1 Range
  0.01243
Sampler 2 Range
  0.01089
DUT output dBm Mean
  10.00731
DUT input dBm Mean
  10.42920
RMS Error
0.26654

## Slide 72: Coupled Line Performance At 10.80 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 95.816
  Sampler 2: 115.848
Sampler Offset (rather than -1)
  -28.508052772407815
Sampler 1 Range
  0.01079
Sampler 2 Range
  0.01080
DUT output dBm Mean
  9.98344
DUT input dBm Mean
  10.42717
RMS Error
0.23317

## Slide 73: Coupled Line Performance At 10.90 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 95.816
  Sampler 2: 115.848
Sampler Offset (rather than -1)
  -28.508052772407815
Sampler 1 Range
  0.01193
Sampler 2 Range
  0.01073
DUT output dBm Mean
  9.98551
DUT input dBm Mean
  10.50024
RMS Error
0.06392

## Slide 74: Coupled Line Performance At 11.00 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 95.816
  Sampler 2: 115.848
Sampler Offset (rather than -1)
  -28.508052772407815
Sampler 1 Range
  0.01279
Sampler 2 Range
  0.01051
DUT output dBm Mean
  10.00471
DUT input dBm Mean
  10.43817
RMS Error
0.13118

## Slide 75: Coupled Line Performance At 11.10 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 95.816
  Sampler 2: 115.848
Sampler Offset (rather than -1)
  -28.508052772407815
Sampler 1 Range
  0.01214
Sampler 2 Range
  0.01156
DUT output dBm Mean
  10.02668
DUT input dBm Mean
  10.51026
RMS Error
0.25596

## Slide 76: Coupled Line Performance At 11.20 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 95.816
  Sampler 2: 115.848
Sampler Offset (rather than -1)
  -28.508052772407815
Sampler 1 Range
  0.01260
Sampler 2 Range
  0.01051
DUT output dBm Mean
  9.99443
DUT input dBm Mean
  10.50443
RMS Error
0.30379

## Slide 77: Coupled Line Performance At 11.30 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 95.816
  Sampler 2: 115.848
Sampler Offset (rather than -1)
  -28.508052772407815
Sampler 1 Range
  0.01297
Sampler 2 Range
  0.01076
DUT output dBm Mean
  10.01223
DUT input dBm Mean
  10.50920
RMS Error
0.38404

## Slide 78: Coupled Line Performance At 11.40 GHz, 10.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 95.816
  Sampler 2: 115.848
Sampler Offset (rather than -1)
  -28.508052772407815
Sampler 1 Range
  0.01160
Sampler 2 Range
  0.01249
DUT output dBm Mean
  10.00137
DUT input dBm Mean
  10.50063
RMS Error
0.54011

## Slide 79: Coupled Line Performance At 10.50 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 68.733
  Sampler 2: 81.580
Sampler Offset (rather than -1)
  -20.764033488139241
Sampler 1 Range
  0.01689
Sampler 2 Range
  0.01569
DUT output dBm Mean
  11.96207
DUT input dBm Mean
  12.34063
RMS Error
0.26172

## Slide 80: Coupled Line Performance At 10.60 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 68.733
  Sampler 2: 81.580
Sampler Offset (rather than -1)
  -20.764033488139241
Sampler 1 Range
  0.02087
Sampler 2 Range
  0.01652
DUT output dBm Mean
  11.94602
DUT input dBm Mean
  12.50079
RMS Error
0.31863

## Slide 81: Coupled Line Performance At 10.70 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 68.733
  Sampler 2: 81.580
Sampler Offset (rather than -1)
  -20.764033488139241
Sampler 1 Range
  0.01845
Sampler 2 Range
  0.01567
DUT output dBm Mean
  11.98740
DUT input dBm Mean
  12.41064
RMS Error
0.20931

## Slide 82: Coupled Line Performance At 10.80 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 68.733
  Sampler 2: 81.580
Sampler Offset (rather than -1)
  -20.764033488139241
Sampler 1 Range
  0.01601
Sampler 2 Range
  0.01565
DUT output dBm Mean
  11.96507
DUT input dBm Mean
  12.41015
RMS Error
0.19930

## Slide 83: Coupled Line Performance At 10.90 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 68.733
  Sampler 2: 81.580
Sampler Offset (rather than -1)
  -20.764033488139241
Sampler 1 Range
  0.01751
Sampler 2 Range
  0.01597
DUT output dBm Mean
  11.95689
DUT input dBm Mean
  12.47327
RMS Error
0.06212

## Slide 84: Coupled Line Performance At 11.00 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 68.733
  Sampler 2: 81.580
Sampler Offset (rather than -1)
  -20.764033488139241
Sampler 1 Range
  0.01875
Sampler 2 Range
  0.01523
DUT output dBm Mean
  11.98064
DUT input dBm Mean
  12.41605
RMS Error
0.11075

## Slide 85: Coupled Line Performance At 11.10 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 68.733
  Sampler 2: 81.580
Sampler Offset (rather than -1)
  -20.764033488139241
Sampler 1 Range
  0.01790
Sampler 2 Range
  0.01710
DUT output dBm Mean
  12.00341
DUT input dBm Mean
  12.48645
RMS Error
0.20395

## Slide 86: Coupled Line Performance At 11.20 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 68.733
  Sampler 2: 81.580
Sampler Offset (rather than -1)
  -20.764033488139241
Sampler 1 Range
  0.01823
Sampler 2 Range
  0.01580
DUT output dBm Mean
  11.97671
DUT input dBm Mean
  12.48814
RMS Error
0.23797

## Slide 87: Coupled Line Performance At 11.30 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 68.733
  Sampler 2: 81.580
Sampler Offset (rather than -1)
  -20.764033488139241
Sampler 1 Range
  0.01914
Sampler 2 Range
  0.01566
DUT output dBm Mean
  11.99106
DUT input dBm Mean
  12.48942
RMS Error
0.31738

## Slide 88: Coupled Line Performance At 11.40 GHz, 12.000000 dBm Output Power 1.50 V mean sampler bias
Sampler Av
  Sampler 1: 68.733
  Sampler 2: 81.580
Sampler Offset (rather than -1)
  -20.764033488139241
Sampler 1 Range
  0.01693
Sampler 2 Range
  0.01789
DUT output dBm Mean
  11.97512
DUT input dBm Mean
  12.47580
RMS Error
0.40352

## Slide 89: Coupled Line Performance At 10.50 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 215.612
  Sampler 2: 255.008
Sampler Offset (rather than -1)
  -124.97885155502534
Sampler 1 Range
  0.00457
Sampler 2 Range
  0.00458
DUT output dBm Mean
  5.94375
DUT input dBm Mean
  6.31941
RMS Error
0.57647

## Slide 90: Coupled Line Performance At 10.60 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 215.612
  Sampler 2: 255.008
Sampler Offset (rather than -1)
  -124.97885155502534
Sampler 1 Range
  0.00577
Sampler 2 Range
  0.00489
DUT output dBm Mean
  5.93941
DUT input dBm Mean
  6.48955
RMS Error
0.54287

## Slide 91: Coupled Line Performance At 10.70 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 215.612
  Sampler 2: 255.008
Sampler Offset (rather than -1)
  -124.97885155502534
Sampler 1 Range
  0.00510
Sampler 2 Range
  0.00447
DUT output dBm Mean
  5.97181
DUT input dBm Mean
  6.38981
RMS Error
0.39796

## Slide 92: Coupled Line Performance At 10.80 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 215.612
  Sampler 2: 255.008
Sampler Offset (rather than -1)
  -124.97885155502534
Sampler 1 Range
  0.00446
Sampler 2 Range
  0.00462
DUT output dBm Mean
  5.93947
DUT input dBm Mean
  6.38101
RMS Error
0.27556

## Slide 93: Coupled Line Performance At 10.90 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 215.612
  Sampler 2: 255.008
Sampler Offset (rather than -1)
  -124.97885155502534
Sampler 1 Range
  0.00481
Sampler 2 Range
  0.00458
DUT output dBm Mean
  5.93986
DUT input dBm Mean
  6.45489
RMS Error
0.06845

## Slide 94: Coupled Line Performance At 11.00 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 215.612
  Sampler 2: 255.008
Sampler Offset (rather than -1)
  -124.97885155502534
Sampler 1 Range
  0.00532
Sampler 2 Range
  0.00435
DUT output dBm Mean
  5.96874
DUT input dBm Mean
  6.40214
RMS Error
0.22274

## Slide 95: Coupled Line Performance At 11.10 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 215.612
  Sampler 2: 255.008
Sampler Offset (rather than -1)
  -124.97885155502534
Sampler 1 Range
  0.00508
Sampler 2 Range
  0.00511
DUT output dBm Mean
  5.98880
DUT input dBm Mean
  6.47356
RMS Error
0.38118

## Slide 96: Coupled Line Performance At 11.20 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 215.612
  Sampler 2: 255.008
Sampler Offset (rather than -1)
  -124.97885155502534
Sampler 1 Range
  0.00524
Sampler 2 Range
  0.00438
DUT output dBm Mean
  5.95643
DUT input dBm Mean
  6.46715
RMS Error
0.49307

## Slide 97: Coupled Line Performance At 11.30 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 215.612
  Sampler 2: 255.008
Sampler Offset (rather than -1)
  -124.97885155502534
Sampler 1 Range
  0.00526
Sampler 2 Range
  0.00446
DUT output dBm Mean
  5.97898
DUT input dBm Mean
  6.47751
RMS Error
0.64664

## Slide 98: Coupled Line Performance At 11.40 GHz, 6.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 215.612
  Sampler 2: 255.008
Sampler Offset (rather than -1)
  -124.97885155502534
Sampler 1 Range
  0.00475
Sampler 2 Range
  0.00517
DUT output dBm Mean
  5.99573
DUT input dBm Mean
  6.49539
RMS Error
0.88381

## Slide 99: Coupled Line Performance At 10.50 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 146.145
  Sampler 2: 168.355
Sampler Offset (rather than -1)
  -84.010319012555428
Sampler 1 Range
  0.00706
Sampler 2 Range
  0.00700
DUT output dBm Mean
  7.99725
DUT input dBm Mean
  8.37177
RMS Error
0.44272

## Slide 100: Coupled Line Performance At 10.60 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 146.145
  Sampler 2: 168.355
Sampler Offset (rather than -1)
  -84.010319012555428
Sampler 1 Range
  0.00919
Sampler 2 Range
  0.00726
DUT output dBm Mean
  7.98371
DUT input dBm Mean
  8.53749
RMS Error
0.44501

## Slide 101: Coupled Line Performance At 10.70 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 146.145
  Sampler 2: 168.355
Sampler Offset (rather than -1)
  -84.010319012555428
Sampler 1 Range
  0.00815
Sampler 2 Range
  0.00702
DUT output dBm Mean
  8.01736
DUT input dBm Mean
  8.43862
RMS Error
0.30050

## Slide 102: Coupled Line Performance At 10.80 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 146.145
  Sampler 2: 168.355
Sampler Offset (rather than -1)
  -84.010319012555428
Sampler 1 Range
  0.00690
Sampler 2 Range
  0.00717
DUT output dBm Mean
  8.00390
DUT input dBm Mean
  8.44820
RMS Error
0.23170

## Slide 103: Coupled Line Performance At 10.90 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 146.145
  Sampler 2: 168.355
Sampler Offset (rather than -1)
  -84.010319012555428
Sampler 1 Range
  0.00751
Sampler 2 Range
  0.00718
DUT output dBm Mean
  7.99271
DUT input dBm Mean
  8.50907
RMS Error
0.05244

## Slide 104: Coupled Line Performance At 11.00 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 146.145
  Sampler 2: 168.355
Sampler Offset (rather than -1)
  -84.010319012555428
Sampler 1 Range
  0.00836
Sampler 2 Range
  0.00669
DUT output dBm Mean
  8.02451
DUT input dBm Mean
  8.45632
RMS Error
0.16182

## Slide 105: Coupled Line Performance At 11.10 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 146.145
  Sampler 2: 168.355
Sampler Offset (rather than -1)
  -84.010319012555428
Sampler 1 Range
  0.00788
Sampler 2 Range
  0.00767
DUT output dBm Mean
  8.04555
DUT input dBm Mean
  8.52925
RMS Error
0.29994

## Slide 106: Coupled Line Performance At 11.20 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 146.145
  Sampler 2: 168.355
Sampler Offset (rather than -1)
  -84.010319012555428
Sampler 1 Range
  0.00807
Sampler 2 Range
  0.00706
DUT output dBm Mean
  8.01509
DUT input dBm Mean
  8.52616
RMS Error
0.37449

## Slide 107: Coupled Line Performance At 11.30 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 146.145
  Sampler 2: 168.355
Sampler Offset (rather than -1)
  -84.010319012555428
Sampler 1 Range
  0.00844
Sampler 2 Range
  0.00715
DUT output dBm Mean
  8.03851
DUT input dBm Mean
  8.53712
RMS Error
0.47988

## Slide 108: Coupled Line Performance At 11.40 GHz, 8.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 146.145
  Sampler 2: 168.355
Sampler Offset (rather than -1)
  -84.010319012555428
Sampler 1 Range
  0.00737
Sampler 2 Range
  0.00806
DUT output dBm Mean
  8.01077
DUT input dBm Mean
  8.51307
RMS Error
0.61254

## Slide 109: Coupled Line Performance At 10.50 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 101.245
  Sampler 2: 116.486
Sampler Offset (rather than -1)
  -58.671063477502713
Sampler 1 Range
  0.01097
Sampler 2 Range
  0.01073
DUT output dBm Mean
  9.98103
DUT input dBm Mean
  10.35750
RMS Error
0.35398

## Slide 110: Coupled Line Performance At 10.60 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 101.245
  Sampler 2: 116.486
Sampler Offset (rather than -1)
  -58.671063477502713
Sampler 1 Range
  0.01376
Sampler 2 Range
  0.01120
DUT output dBm Mean
  9.96800
DUT input dBm Mean
  10.52290
RMS Error
0.38540

## Slide 111: Coupled Line Performance At 10.70 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 101.245
  Sampler 2: 116.486
Sampler Offset (rather than -1)
  -58.671063477502713
Sampler 1 Range
  0.01241
Sampler 2 Range
  0.01055
DUT output dBm Mean
  10.01058
DUT input dBm Mean
  10.43271
RMS Error
0.27618

## Slide 112: Coupled Line Performance At 10.80 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 101.245
  Sampler 2: 116.486
Sampler Offset (rather than -1)
  -58.671063477502713
Sampler 1 Range
  0.01044
Sampler 2 Range
  0.01083
DUT output dBm Mean
  9.98928
DUT input dBm Mean
  10.43413
RMS Error
0.21775

## Slide 113: Coupled Line Performance At 10.90 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 101.245
  Sampler 2: 116.486
Sampler Offset (rather than -1)
  -58.671063477502713
Sampler 1 Range
  0.01152
Sampler 2 Range
  0.01087
DUT output dBm Mean
  9.98905
DUT input dBm Mean
  10.50742
RMS Error
0.04425

## Slide 114: Coupled Line Performance At 11.00 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 101.245
  Sampler 2: 116.486
Sampler Offset (rather than -1)
  -58.671063477502713
Sampler 1 Range
  0.01261
Sampler 2 Range
  0.01025
DUT output dBm Mean
  10.00211
DUT input dBm Mean
  10.43605
RMS Error
0.10133

## Slide 115: Coupled Line Performance At 11.10 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 101.245
  Sampler 2: 116.486
Sampler Offset (rather than -1)
  -58.671063477502713
Sampler 1 Range
  0.01215
Sampler 2 Range
  0.01164
DUT output dBm Mean
  10.03628
DUT input dBm Mean
  10.52077
RMS Error
0.22998

## Slide 116: Coupled Line Performance At 11.20 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 101.245
  Sampler 2: 116.486
Sampler Offset (rather than -1)
  -58.671063477502713
Sampler 1 Range
  0.01226
Sampler 2 Range
  0.01075
DUT output dBm Mean
  9.99775
DUT input dBm Mean
  10.50820
RMS Error
0.27607

## Slide 117: Coupled Line Performance At 11.30 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 101.245
  Sampler 2: 116.486
Sampler Offset (rather than -1)
  -58.671063477502713
Sampler 1 Range
  0.01258
Sampler 2 Range
  0.01059
DUT output dBm Mean
  10.01442
DUT input dBm Mean
  10.51422
RMS Error
0.36375

## Slide 118: Coupled Line Performance At 11.40 GHz, 10.000000 dBm Output Power 1.75 V mean sampler bias
Sampler Av
  Sampler 1: 101.245
  Sampler 2: 116.486
Sampler Offset (rather than -1)
  -58.671063477502713
Sampler 1 Range
  0.01111
Sampler 2 Range
  0.01239
DUT output dBm Mean
  10.00646
DUT input dBm Mean
  10.50843
RMS Error
0.45310

## Slide 119: Coupled Line Performance At 10.50 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 270.777
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -234.95768666860761
Sampler 1 Range
  0.00409
Sampler 2 Range
  0.00387
DUT output dBm Mean
  5.93448
DUT input dBm Mean
  6.30852
RMS Error
0.51065

## Slide 120: Coupled Line Performance At 10.60 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 270.777
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -234.95768666860761
Sampler 1 Range
  0.00484
Sampler 2 Range
  0.00395
DUT output dBm Mean
  5.92832
DUT input dBm Mean
  6.48198
RMS Error
0.53011

## Slide 121: Coupled Line Performance At 10.70 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 270.777
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -234.95768666860761
Sampler 1 Range
  0.00440
Sampler 2 Range
  0.00393
DUT output dBm Mean
  5.96225
DUT input dBm Mean
  6.38156
RMS Error
0.36947

## Slide 122: Coupled Line Performance At 10.80 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 270.777
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -234.95768666860761
Sampler 1 Range
  0.00381
Sampler 2 Range
  0.00391
DUT output dBm Mean
  5.94172
DUT input dBm Mean
  6.38491
RMS Error
0.19352

## Slide 123: Coupled Line Performance At 10.90 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 270.777
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -234.95768666860761
Sampler 1 Range
  0.00392
Sampler 2 Range
  0.00385
DUT output dBm Mean
  5.94583
DUT input dBm Mean
  6.45880
RMS Error
0.08029

## Slide 124: Coupled Line Performance At 11.00 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 270.777
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -234.95768666860761
Sampler 1 Range
  0.00434
Sampler 2 Range
  0.00378
DUT output dBm Mean
  5.96663
DUT input dBm Mean
  6.39973
RMS Error
0.16674

## Slide 125: Coupled Line Performance At 11.10 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 270.777
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -234.95768666860761
Sampler 1 Range
  0.00431
Sampler 2 Range
  0.00427
DUT output dBm Mean
  5.98428
DUT input dBm Mean
  6.46805
RMS Error
0.30026

## Slide 126: Coupled Line Performance At 11.20 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 270.777
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -234.95768666860761
Sampler 1 Range
  0.00447
Sampler 2 Range
  0.00392
DUT output dBm Mean
  5.95755
DUT input dBm Mean
  6.46639
RMS Error
0.40184

## Slide 127: Coupled Line Performance At 11.30 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 270.777
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -234.95768666860761
Sampler 1 Range
  0.00486
Sampler 2 Range
  0.00390
DUT output dBm Mean
  5.97269
DUT input dBm Mean
  6.46964
RMS Error
0.55578

## Slide 128: Coupled Line Performance At 11.40 GHz, 6.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 270.777
  Sampler 2: 300.000
Sampler Offset (rather than -1)
  -234.95768666860761
Sampler 1 Range
  0.00417
Sampler 2 Range
  0.00453
DUT output dBm Mean
  5.99217
DUT input dBm Mean
  6.49233
RMS Error
0.76193

## Slide 129: Coupled Line Performance At 10.50 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 156.059
  Sampler 2: 177.866
Sampler Offset (rather than -1)
  -137.88381790783586
Sampler 1 Range
  0.00612
Sampler 2 Range
  0.00609
DUT output dBm Mean
  8.00790
DUT input dBm Mean
  8.38302
RMS Error
0.35813

## Slide 130: Coupled Line Performance At 10.60 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 156.059
  Sampler 2: 177.866
Sampler Offset (rather than -1)
  -137.88381790783586
Sampler 1 Range
  0.00806
Sampler 2 Range
  0.00635
DUT output dBm Mean
  7.98379
DUT input dBm Mean
  8.53839
RMS Error
0.37732

## Slide 131: Coupled Line Performance At 10.70 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 156.059
  Sampler 2: 177.866
Sampler Offset (rather than -1)
  -137.88381790783586
Sampler 1 Range
  0.00706
Sampler 2 Range
  0.00617
DUT output dBm Mean
  8.01450
DUT input dBm Mean
  8.43600
RMS Error
0.28350

## Slide 132: Coupled Line Performance At 10.80 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 156.059
  Sampler 2: 177.866
Sampler Offset (rather than -1)
  -137.88381790783586
Sampler 1 Range
  0.00588
Sampler 2 Range
  0.00630
DUT output dBm Mean
  8.01046
DUT input dBm Mean
  8.45390
RMS Error
0.17095

## Slide 133: Coupled Line Performance At 10.90 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 156.059
  Sampler 2: 177.866
Sampler Offset (rather than -1)
  -137.88381790783586
Sampler 1 Range
  0.00649
Sampler 2 Range
  0.00618
DUT output dBm Mean
  7.98543
DUT input dBm Mean
  8.50184
RMS Error
0.04772

## Slide 134: Coupled Line Performance At 11.00 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 156.059
  Sampler 2: 177.866
Sampler Offset (rather than -1)
  -137.88381790783586
Sampler 1 Range
  0.00714
Sampler 2 Range
  0.00597
DUT output dBm Mean
  8.02512
DUT input dBm Mean
  8.45905
RMS Error
0.13194

## Slide 135: Coupled Line Performance At 11.10 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 156.059
  Sampler 2: 177.866
Sampler Offset (rather than -1)
  -137.88381790783586
Sampler 1 Range
  0.00676
Sampler 2 Range
  0.00681
DUT output dBm Mean
  8.04013
DUT input dBm Mean
  8.52687
RMS Error
0.22968

## Slide 136: Coupled Line Performance At 11.20 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 156.059
  Sampler 2: 177.866
Sampler Offset (rather than -1)
  -137.88381790783586
Sampler 1 Range
  0.00716
Sampler 2 Range
  0.00616
DUT output dBm Mean
  8.00985
DUT input dBm Mean
  8.52097
RMS Error
0.27598

## Slide 137: Coupled Line Performance At 11.30 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 156.059
  Sampler 2: 177.866
Sampler Offset (rather than -1)
  -137.88381790783586
Sampler 1 Range
  0.00732
Sampler 2 Range
  0.00621
DUT output dBm Mean
  8.01919
DUT input dBm Mean
  8.51856
RMS Error
0.37228

## Slide 138: Coupled Line Performance At 11.40 GHz, 8.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 156.059
  Sampler 2: 177.866
Sampler Offset (rather than -1)
  -137.88381790783586
Sampler 1 Range
  0.00654
Sampler 2 Range
  0.00718
DUT output dBm Mean
  8.01698
DUT input dBm Mean
  8.51903
RMS Error
0.48386

## Slide 139: Coupled Line Performance At 10.50 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 110.149
  Sampler 2: 125.592
Sampler Offset (rather than -1)
  -97.821258846768728
Sampler 1 Range
  0.00958
Sampler 2 Range
  0.00944
DUT output dBm Mean
  9.97354
DUT input dBm Mean
  10.35179
RMS Error
0.30318

## Slide 140: Coupled Line Performance At 10.60 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 110.149
  Sampler 2: 125.592
Sampler Offset (rather than -1)
  -97.821258846768728
Sampler 1 Range
  0.01227
Sampler 2 Range
  0.00999
DUT output dBm Mean
  9.98013
DUT input dBm Mean
  10.53350
RMS Error
0.29358

## Slide 141: Coupled Line Performance At 10.70 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 110.149
  Sampler 2: 125.592
Sampler Offset (rather than -1)
  -97.821258846768728
Sampler 1 Range
  0.01086
Sampler 2 Range
  0.00935
DUT output dBm Mean
  10.01685
DUT input dBm Mean
  10.43902
RMS Error
0.24666

## Slide 142: Coupled Line Performance At 10.80 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 110.149
  Sampler 2: 125.592
Sampler Offset (rather than -1)
  -97.821258846768728
Sampler 1 Range
  0.00919
Sampler 2 Range
  0.00953
DUT output dBm Mean
  9.97368
DUT input dBm Mean
  10.41743
RMS Error
0.17458

## Slide 143: Coupled Line Performance At 10.90 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 110.149
  Sampler 2: 125.592
Sampler Offset (rather than -1)
  -97.821258846768728
Sampler 1 Range
  0.01015
Sampler 2 Range
  0.00959
DUT output dBm Mean
  9.97417
DUT input dBm Mean
  10.49145
RMS Error
0.03625

## Slide 144: Coupled Line Performance At 11.00 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 110.149
  Sampler 2: 125.592
Sampler Offset (rather than -1)
  -97.821258846768728
Sampler 1 Range
  0.01089
Sampler 2 Range
  0.00920
DUT output dBm Mean
  10.01225
DUT input dBm Mean
  10.44812
RMS Error
0.09598

## Slide 145: Coupled Line Performance At 11.10 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 110.149
  Sampler 2: 125.592
Sampler Offset (rather than -1)
  -97.821258846768728
Sampler 1 Range
  0.01063
Sampler 2 Range
  0.01047
DUT output dBm Mean
  10.03562
DUT input dBm Mean
  10.52171
RMS Error
0.19419

## Slide 146: Coupled Line Performance At 11.20 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 110.149
  Sampler 2: 125.592
Sampler Offset (rather than -1)
  -97.821258846768728
Sampler 1 Range
  0.01075
Sampler 2 Range
  0.00966
DUT output dBm Mean
  9.99568
DUT input dBm Mean
  10.50654
RMS Error
0.20638

## Slide 147: Coupled Line Performance At 11.30 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 110.149
  Sampler 2: 125.592
Sampler Offset (rather than -1)
  -97.821258846768728
Sampler 1 Range
  0.01128
Sampler 2 Range
  0.00965
DUT output dBm Mean
  10.00865
DUT input dBm Mean
  10.50886
RMS Error
0.29621

## Slide 148: Coupled Line Performance At 11.40 GHz, 10.000000 dBm Output Power 2.00 V mean sampler bias
Sampler Av
  Sampler 1: 110.149
  Sampler 2: 125.592
Sampler Offset (rather than -1)
  -97.821258846768728
Sampler 1 Range
  0.00979
Sampler 2 Range
  0.01101
DUT output dBm Mean
  10.00215
DUT input dBm Mean
  10.50358
RMS Error
0.37340

## Slide 149: Coupled Line Performance At 1.00 V mean sampler bias

## Slide 150: Coupled Line Performance At 1.25 V mean sampler bias

## Slide 151: Coupled Line Performance At 1.50 V mean sampler bias

## Slide 152: Coupled Line Performance At 1.75 V mean sampler bias

## Slide 153: Coupled Line Performance At 2.00 V mean sampler bias