## Slide 1: Simple Load Pull Report
None

## Slide 2: Test Configuration
Frequencies: (GHz)
  11.4, 11.3, 11.2, 11.1, 11, 10.9, 10.8, 10.7, 10.6, 10.5
Input Powers: (dBm)
  12, 14, 16
Load Impedances:
  Gamma Magnitude:
    0.1, 0.2, 0.3, 0.4, 0.5
  Gamma Phase
    -175, -145, -115, -85, -55, -25, 5, 35, 65, 95, 125, 155
Comments
  None
Data and Time: 2025-08-21_14_35

## Slide 3: Sampler Performance Frequency 10.50 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 88.632
  Sampler 2: 107.788
Sampler Offset (rather than -1)
  -6.778
Goodness Of fit
  0.19389

## Slide 4: Sampler Performance x^3 Frequency 10.50 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 3.414366e-03
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 27.682
  Sampler 2: 29.605
Sampler Offset (rather than -1)
  -1.9474
Goodness Of fit
  0.12939

## Slide 5: Sampler Performance Frequency 10.50 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 61.948
  Sampler 2: 73.737
Sampler Offset (rather than -1)
  -5.077
Goodness Of fit
  0.20302

## Slide 6: Sampler Performance x^3 Frequency 10.50 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 2.231546e+01
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 19.365
  Sampler 2: 24.369
Sampler Offset (rather than -1)
  -1.9831
Goodness Of fit
  0.12776

## Slide 7: Sampler Performance Frequency 10.50 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 46.867
  Sampler 2: 54.663
Sampler Offset (rather than -1)
  -4.2506
Goodness Of fit
  0.16309

## Slide 8: Sampler Performance x^3 Frequency 10.50 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 3.481698e+01
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 10.400
  Sampler 2: 20.158
Sampler Offset (rather than -1)
  -2.1478
Goodness Of fit
  0.086137

## Slide 9: Sampler Performance Frequency 10.60 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 70.790
  Sampler 2: 97.580
Sampler Offset (rather than -1)
  -5.7629
Goodness Of fit
  0.21427

## Slide 10: Sampler Performance x^3 Frequency 10.60 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 8.022496e+01
  Sampler 2: 0.008
Sampler Av3
  Sampler 1: -15.596
  Sampler 2: 29.447
Sampler Offset (rather than -1)
  -3.6187
Goodness Of fit
  0.19899

## Slide 11: Sampler Performance Frequency 10.60 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 60.384
  Sampler 2: 81.920
Sampler Offset (rather than -1)
  -5.3024
Goodness Of fit
  0.18772

## Slide 12: Sampler Performance x^3 Frequency 10.60 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 8.084399e+01
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: -17.266
  Sampler 2: 26.230
Sampler Offset (rather than -1)
  -3.6847
Goodness Of fit
  0.16364

## Slide 13: Sampler Performance Frequency 10.60 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 45.865
  Sampler 2: 61.167
Sampler Offset (rather than -1)
  -4.4515
Goodness Of fit
  0.14608

## Slide 14: Sampler Performance x^3 Frequency 10.60 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 9.055579e+01
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: -18.599
  Sampler 2: 23.173
Sampler Offset (rather than -1)
  -4.2227
Goodness Of fit
  0.10031

## Slide 15: Sampler Performance Frequency 10.70 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 70.540
  Sampler 2: 101.651
Sampler Offset (rather than -1)
  -5.9598
Goodness Of fit
  0.14148

## Slide 16: Sampler Performance x^3 Frequency 10.70 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 1.983447e+00
  Sampler 2: 0.012
Sampler Av3
  Sampler 1: 24.421
  Sampler 2: 28.694
Sampler Offset (rather than -1)
  -1.6519
Goodness Of fit
  0.10975

## Slide 17: Sampler Performance Frequency 10.70 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 54.327
  Sampler 2: 78.025
Sampler Offset (rather than -1)
  -4.9666
Goodness Of fit
  0.1328

## Slide 18: Sampler Performance x^3 Frequency 10.70 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 2.504440e+01
  Sampler 2: 0.048
Sampler Av3
  Sampler 1: 16.221
  Sampler 2: 24.648
Sampler Offset (rather than -1)
  -1.96
Goodness Of fit
  0.095204

## Slide 19: Sampler Performance Frequency 10.70 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 39.209
  Sampler 2: 54.305
Sampler Offset (rather than -1)
  -3.9002
Goodness Of fit
  0.13744

## Slide 20: Sampler Performance x^3 Frequency 10.70 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 2.441044e+01
  Sampler 2: 1.422
Sampler Av3
  Sampler 1: 10.960
  Sampler 2: 19.915
Sampler Offset (rather than -1)
  -1.7501
Goodness Of fit
  0.085601

## Slide 21: Sampler Performance Frequency 10.80 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 84.790
  Sampler 2: 89.580
Sampler Offset (rather than -1)
  -6.0556
Goodness Of fit
  0.24428

## Slide 22: Sampler Performance x^3 Frequency 10.80 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 2.151851e-07
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 27.009
  Sampler 2: 27.515
Sampler Offset (rather than -1)
  -1.7013
Goodness Of fit
  0.19052

## Slide 23: Sampler Performance Frequency 10.80 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 74.498
  Sampler 2: 79.602
Sampler Offset (rather than -1)
  -5.8266
Goodness Of fit
  0.19862

## Slide 24: Sampler Performance x^3 Frequency 10.80 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 4.274969e+01
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 16.620
  Sampler 2: 24.482
Sampler Offset (rather than -1)
  -2.6589
Goodness Of fit
  0.15141

## Slide 25: Sampler Performance Frequency 10.80 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 55.894
  Sampler 2: 59.512
Sampler Offset (rather than -1)
  -4.8631
Goodness Of fit
  0.15217

## Slide 26: Sampler Performance x^3 Frequency 10.80 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 4.785357e+01
  Sampler 2: 5.388
Sampler Av3
  Sampler 1: -1.329
  Sampler 2: 19.732
Sampler Offset (rather than -1)
  -2.8177
Goodness Of fit
  0.11713

## Slide 27: Sampler Performance Frequency 10.90 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 76.099
  Sampler 2: 105.621
Sampler Offset (rather than -1)
  -6.3493
Goodness Of fit
  0.15861

## Slide 28: Sampler Performance x^3 Frequency 10.90 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 9.962846e-05
  Sampler 2: 5.787
Sampler Av3
  Sampler 1: 25.289
  Sampler 2: 28.300
Sampler Offset (rather than -1)
  -1.8593
Goodness Of fit
  0.11975

## Slide 29: Sampler Performance Frequency 10.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 65.880
  Sampler 2: 88.510
Sampler Offset (rather than -1)
  -5.8585
Goodness Of fit
  0.11888

## Slide 30: Sampler Performance x^3 Frequency 10.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 1.045043e+00
  Sampler 2: 54.131
Sampler Av3
  Sampler 1: 22.596
  Sampler 2: 17.065
Sampler Offset (rather than -1)
  -2.9999
Goodness Of fit
  0.07079

## Slide 31: Sampler Performance Frequency 10.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 48.453
  Sampler 2: 63.379
Sampler Offset (rather than -1)
  -4.7377
Goodness Of fit
  0.053756

## Slide 32: Sampler Performance x^3 Frequency 10.90 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 3.362269e+01
  Sampler 2: 33.267
Sampler Av3
  Sampler 1: 11.387
  Sampler 2: 15.916
Sampler Offset (rather than -1)
  -3.2549
Goodness Of fit
  0.032122

## Slide 33: Sampler Performance Frequency 11.00 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 81.940
  Sampler 2: 94.461
Sampler Offset (rather than -1)
  -6.199
Goodness Of fit
  0.12969

## Slide 34: Sampler Performance x^3 Frequency 11.00 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 6.683596e+01
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 13.779
  Sampler 2: 28.592
Sampler Offset (rather than -1)
  -3.4798
Goodness Of fit
  0.10798

## Slide 35: Sampler Performance Frequency 11.00 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 63.361
  Sampler 2: 68.654
Sampler Offset (rather than -1)
  -5.0207
Goodness Of fit
  0.083161

## Slide 36: Sampler Performance x^3 Frequency 11.00 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 5.865520e+01
  Sampler 2: 10.577
Sampler Av3
  Sampler 1: -4.914
  Sampler 2: 22.522
Sampler Offset (rather than -1)
  -3.2557
Goodness Of fit
  0.070859

## Slide 37: Sampler Performance Frequency 11.00 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 50.953
  Sampler 2: 57.396
Sampler Offset (rather than -1)
  -4.6081
Goodness Of fit
  0.064064

## Slide 38: Sampler Performance x^3 Frequency 11.00 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 6.264890e+01
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: -13.392
  Sampler 2: 21.097
Sampler Offset (rather than -1)
  -3.2083
Goodness Of fit
  0.036699

## Slide 39: Sampler Performance Frequency 11.10 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 70.430
  Sampler 2: 85.873
Sampler Offset (rather than -1)
  -5.5476
Goodness Of fit
  0.3465

## Slide 40: Sampler Performance x^3 Frequency 11.10 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 4.145468e-10
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 24.958
  Sampler 2: 27.268
Sampler Offset (rather than -1)
  -1.61
Goodness Of fit
  0.27506

## Slide 41: Sampler Performance Frequency 11.10 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 57.313
  Sampler 2: 68.080
Sampler Offset (rather than -1)
  -4.8044
Goodness Of fit
  0.25012

## Slide 42: Sampler Performance x^3 Frequency 11.10 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 3.099798e+01
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 15.593
  Sampler 2: 23.461
Sampler Offset (rather than -1)
  -2.1328
Goodness Of fit
  0.19144

## Slide 43: Sampler Performance Frequency 11.10 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 44.355
  Sampler 2: 51.424
Sampler Offset (rather than -1)
  -4.1039
Goodness Of fit
  0.23208

## Slide 44: Sampler Performance x^3 Frequency 11.10 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 3.304731e+01
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 8.522
  Sampler 2: 19.461
Sampler Offset (rather than -1)
  -2.0497
Goodness Of fit
  0.16862

## Slide 45: Sampler Performance Frequency 11.20 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 87.761
  Sampler 2: 130.322
Sampler Offset (rather than -1)
  -7.8038
Goodness Of fit
  0.21235

## Slide 46: Sampler Performance x^3 Frequency 11.20 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 7.127099e+01
  Sampler 2: 1.706
Sampler Av3
  Sampler 1: 11.519
  Sampler 2: 30.822
Sampler Offset (rather than -1)
  -4.0222
Goodness Of fit
  0.19267

## Slide 47: Sampler Performance Frequency 11.20 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 68.545
  Sampler 2: 99.804
Sampler Offset (rather than -1)
  -6.5256
Goodness Of fit
  0.10219

## Slide 48: Sampler Performance x^3 Frequency 11.20 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 3.015410e+01
  Sampler 2: 92.027
Sampler Av3
  Sampler 1: 18.708
  Sampler 2: 4.248
Sampler Offset (rather than -1)
  -5.1208
Goodness Of fit
  0.09142

## Slide 49: Sampler Performance Frequency 11.20 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 46.869
  Sampler 2: 67.129
Sampler Offset (rather than -1)
  -4.9193
Goodness Of fit
  0.070607

## Slide 50: Sampler Performance x^3 Frequency 11.20 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 3.500226e+01
  Sampler 2: 60.666
Sampler Av3
  Sampler 1: 11.286
  Sampler 2: 7.924
Sampler Offset (rather than -1)
  -4.2829
Goodness Of fit
  0.066494

## Slide 51: Sampler Performance Frequency 11.30 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 56.330
  Sampler 2: 69.997
Sampler Offset (rather than -1)
  -4.5649
Goodness Of fit
  0.31228

## Slide 52: Sampler Performance x^3 Frequency 11.30 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 7.900077e-06
  Sampler 2: 0.002
Sampler Av3
  Sampler 1: 23.476
  Sampler 2: 25.951
Sampler Offset (rather than -1)
  -1.4492
Goodness Of fit
  0.21106

## Slide 53: Sampler Performance Frequency 11.30 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 38.404
  Sampler 2: 46.994
Sampler Offset (rather than -1)
  -3.3146
Goodness Of fit
  0.30083

## Slide 54: Sampler Performance x^3 Frequency 11.30 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 1.451255e-10
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 19.134
  Sampler 2: 21.066
Sampler Offset (rather than -1)
  -0.9685
Goodness Of fit
  0.18546

## Slide 55: Sampler Performance Frequency 11.30 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 16.457
  Sampler 2: 18.659
Sampler Offset (rather than -1)
  -1.4678
Goodness Of fit
  0.45431

## Slide 56: Sampler Performance x^3 Frequency 11.30 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 2.220461e-14
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 14.352
  Sampler 2: 15.687
Sampler Offset (rather than -1)
  -0.53637
Goodness Of fit
  0.29316

## Slide 57: Sampler Performance Frequency 11.40 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 0.000
  Sampler 2: 1.632
Sampler Offset (rather than -1)
  0.060412
Goodness Of fit
  0.58132

## Slide 58: Sampler Performance x^3 Frequency 11.40 GHz, Power 12 dBm
Sampler Av
  Sampler 1: 2.220450e-14
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 18.529
  Sampler 2: 19.509
Sampler Offset (rather than -1)
  -0.71391
Goodness Of fit
  0.53784

## Slide 59: Sampler Performance Frequency 11.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 70.652
  Sampler 2: 75.196
Sampler Offset (rather than -1)
  -5.9108
Goodness Of fit
  0.21452

## Slide 60: Sampler Performance x^3 Frequency 11.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 4.342409e+01
  Sampler 2: 0.001
Sampler Av3
  Sampler 1: 14.269
  Sampler 2: 23.040
Sampler Offset (rather than -1)
  -2.7702
Goodness Of fit
  0.1656

## Slide 61: Sampler Performance Frequency 11.40 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 55.618
  Sampler 2: 57.740
Sampler Offset (rather than -1)
  -5.0527
Goodness Of fit
  0.1028

## Slide 62: Sampler Performance x^3 Frequency 11.40 GHz, Power 16 dBm
Sampler Av
  Sampler 1: 5.356167e+01
  Sampler 2: 11.117
Sampler Av3
  Sampler 1: -9.086
  Sampler 2: 18.419
Sampler Offset (rather than -1)
  -3.3757
Goodness Of fit
  0.06408