## Slide 1: Simple Load Pull Report
None

## Slide 2: Test Configuration
Frequencies: (GHz)
  8.9, 9.4, 9.9, 10.4, 10.9, 11.4, 11.9
Input Powers: (dBm)
  14, 16, 18, 22
Load Impedances:
  Gamma Magnitude:
    0.1, 0.2, 0.3, 0.4, 0.5
  Gamma Phase
    -175, -165, -155, -145, -135, -125, -115, -105, -95, -85, -75, -65, -55, -45, -35, -25, -15, -5, 5, 15, 25, 35, 45, 55, 65, 75, 85, 95, 105, 115, 125, 135, 145, 155, 165, 175

## Slide 3: Sampler Performance Frequency 10.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 35.896
  Sampler 2: 54.013
Sampler Offset (rather than -1)
  -2.9095
Goodness Of fit
  0.15881

## Slide 4: Sampler Performance x^3 Frequency 10.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 2.302255e+01
  Sampler 2: 16.254
Sampler Av3
  Sampler 1: 13.482
  Sampler 2: 20.902
Sampler Offset (rather than -1)
  -1.665
Goodness Of fit
  0.089532

## Slide 5: Sampler Performance x^2 x^3 Frequency 10.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 21.233
  Sampler 2: 17.715
Sampler Av3
  Sampler 1: 12.846
  Sampler 2: 20.613
Sampler Av2
  Sampler 1: 6.692
  Sampler 2: 0.194
Sampler Offset (rather than -1)
  -1.6777
Goodness Of fit
  0.089557

## Slide 6: Sampler Performance Frequency 10.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 26.876
  Sampler 2: 50.354
Sampler Offset (rather than -1)
  -2.4769
Goodness Of fit
  0.61029

## Slide 7: Sampler Performance x^3 Frequency 10.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 1.160409e+01
  Sampler 2: 0.001
Sampler Av3
  Sampler 1: 13.592
  Sampler 2: 23.304
Sampler Offset (rather than -1)
  -0.86841
Goodness Of fit
  0.48299

## Slide 8: Sampler Performance x^2 x^3 Frequency 10.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 6.278
  Sampler 2: 5.471
Sampler Av3
  Sampler 1: 9.847
  Sampler 2: 22.517
Sampler Av2
  Sampler 1: 13.066
  Sampler 2: 0.321
Sampler Offset (rather than -1)
  -0.95891
Goodness Of fit
  0.48504

## Slide 9: Sampler Performance Frequency 11.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 17.400
  Sampler 2: 23.932
Sampler Offset (rather than -1)
  -1.2744
Goodness Of fit
  1.0257

## Slide 10: Sampler Performance x^3 Frequency 11.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 2.929934e-07
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 15.741
  Sampler 2: 18.721
Sampler Offset (rather than -1)
  -0.30238
Goodness Of fit
  0.78067

## Slide 11: Sampler Performance x^2 x^3 Frequency 11.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 5.397
  Sampler 2: 2.415
Sampler Av3
  Sampler 1: 14.258
  Sampler 2: 18.518
Sampler Av2
  Sampler 1: 0.114
  Sampler 2: 0.462
Sampler Offset (rather than -1)
  -0.51659
Goodness Of fit
  0.81076

## Slide 12: Sampler Performance Frequency 11.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 32.812
  Sampler 2: 31.382
Sampler Offset (rather than -1)
  -1.9431
Goodness Of fit
  0.55428

## Slide 13: Sampler Performance x^3 Frequency 11.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 1.104440e-07
  Sampler 2: 2.325
Sampler Av3
  Sampler 1: 20.769
  Sampler 2: 19.419
Sampler Offset (rather than -1)
  -0.51897
Goodness Of fit
  0.4172

## Slide 14: Sampler Performance x^2 x^3 Frequency 11.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 6.829
  Sampler 2: 9.975
Sampler Av3
  Sampler 1: 19.643
  Sampler 2: 17.816
Sampler Av2
  Sampler 1: -0.057
  Sampler 2: -0.037
Sampler Offset (rather than -1)
  -0.87823
Goodness Of fit
  0.43124

## Slide 15: Sampler Performance Frequency 8.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 9.424
  Sampler 2: 18.846
Sampler Offset (rather than -1)
  -0.79821
Goodness Of fit
  1.5497

## Slide 16: Sampler Performance x^3 Frequency 8.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 3.766403e-14
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 15.003
  Sampler 2: 19.478
Sampler Offset (rather than -1)
  -0.26427
Goodness Of fit
  1.3026

## Slide 17: Sampler Performance x^2 x^3 Frequency 8.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 3.669
  Sampler 2: 4.281
Sampler Av3
  Sampler 1: 14.095
  Sampler 2: 18.899
Sampler Av2
  Sampler 1: 0.307
  Sampler 2: -0.091
Sampler Offset (rather than -1)
  -0.48066
Goodness Of fit
  1.3602

## Slide 18: Sampler Performance Frequency 9.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 17.212
  Sampler 2: 24.054
Sampler Offset (rather than -1)
  -1.2475
Goodness Of fit
  0.92154

## Slide 19: Sampler Performance x^3 Frequency 9.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 2.819183e-10
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 16.661
  Sampler 2: 19.539
Sampler Offset (rather than -1)
  -0.33903
Goodness Of fit
  0.65757

## Slide 20: Sampler Performance x^2 x^3 Frequency 9.40 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 4.594
  Sampler 2: 2.665
Sampler Av3
  Sampler 1: 15.433
  Sampler 2: 19.171
Sampler Av2
  Sampler 1: 0.158
  Sampler 2: 0.176
Sampler Offset (rather than -1)
  -0.52767
Goodness Of fit
  0.69591

## Slide 21: Sampler Performance Frequency 9.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 22.262
  Sampler 2: 39.000
Sampler Offset (rather than -1)
  -1.832
Goodness Of fit
  0.77952

## Slide 22: Sampler Performance x^3 Frequency 9.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 2.220502e-14
  Sampler 2: 0.000
Sampler Av3
  Sampler 1: 18.241
  Sampler 2: 22.896
Sampler Offset (rather than -1)
  -0.48609
Goodness Of fit
  0.57406

## Slide 23: Sampler Performance x^2 x^3 Frequency 9.90 GHz, Power 14 dBm
Sampler Av
  Sampler 1: 3.749
  Sampler 2: 7.244
Sampler Av3
  Sampler 1: 17.554
  Sampler 2: 21.745
Sampler Av2
  Sampler 1: -0.109
  Sampler 2: -0.155
Sampler Offset (rather than -1)
  -0.75668
Goodness Of fit
  0.59697